Biomonitoring of indicator and emerging pathogens in piped drinking water in Ludhiana

P. Sahota  and G. Pandove ,

Department of Microbiology, PAU, Ludhiana

Email id: gpandoveg@yahoomail.com

The coliform group of bacteria has remained the corner stone of national drinking water regulation. Epidemiological surveillance of 110 samples in Ludhiana city included treated source water, treated piped water and treated piped filtered water. A total of 73 (66%) of samples were non-potable. The piped water tested potable by conventional indicator technique were positive for emerging pathogens so researchers has focused on safe drinking water regulation amendment. The emerging and environmental contaminants isolates were Aeromonas hydrophila, Yersinia enterocolitica Proteus mirabilis and Pseudomonas. These contaminants capable of growth in low nutrient condition, (similar to water distribution system) should be proposed as indicators of distribution system integrity. The occurrence is suggestive of inadequate chlorination and potential biofilm formation in pipes.

Key words: coliform; non potable; emerging pathogens; standards of drinking water

INTRODUCTION

Water borne diseases affect one third of World’s population. In developing countries 13 million people die and 1.1 billion persons lack access to an improved water source, and 2.4 billion persons lack access to adequate sanitation. As a result of infectious diseases related to unsafe water and inadequate sanitation, an estimated 3 million people in developing regions of the world die each year, primarily children aged <5 years (WHO 2006). Water demand at present exceeds the available renewable water resources with the current high population growth rate, increased modernization, and higher standard of living, the gap between water supply and demand is expected to widen. In industrialized countries drinking water is ranked as food and high standards are set for quality and safety. There is need to upgrade our laboratories to international standards to support surveillance, monitoring, and curbing the spread of infectious agent in general and exotic zoonotic infections in particular.

In the recent year new or emerging pathogens have arisen as problem in drinking water production and distribution. These include newly recognized pathogens from faecal sources like Campylobacter jejuni, pathogenic Escherichia coli, Yersinia enterocolitica, new enteric viruses and microsporidia. Some new environmental pathogenic species of bacteria able to grow in water distribution systems, as Aeromonas spp., Mycobacterium sp and Pseudomonas aeruginosa, Proteus mirabilis (Szewzyk et al   2000). Most pathogens in drinking water are generally faecal in origin (Ashbolt 2004).

Drinking water monitoring based on test for coliform bacteria as indicator of faecal contamination originated 100 year ago but today water is treated and piped through elaborate distribution system. Monitoring water for indicator and emerging pathogens is very important for protecting the public health.Enviromental contaminant Pseudomonas spp., Proteus mirabilis, Aeromonas spp are capable of grows in low nutrient condition (the condition similar to water distribution system) should be proposed as indicators of distribution system integrity. There occurrence in water suggest inadequate chlorination and potential biofilm formation. All indicators must be monitored frequently in many locations so to check the distribution system network. The present investigation was carried out with following objective of epidemiological surveillance studies for the quality of treated, piped and membrane filtered water for indicator and emerging pathogens.

MATERIALS AND METHODS

Collection of water sample: Water samples were collected from Municipal Corporation supply lines of Ludhiana city of Punjab. The water samples were stored in presterilized bottles and transported to Laboratory and analyzed immediately. The samples of drinking water were tested by methods proposed by APHA (1998).

Culture conditions and characteristics of the bacteria: Potable and non-potable water sample after pre enrichment  in selective  broth were streaked on differential media (EMB, MacConkey, UTI differential agar, CIN, TSI ,Baird parker agar and DCA).The plates were incubated at 37 o C for 48-96 hrs. Preliminary identification was attempted using classical technique including physiochemical and biochemical tests. Oxidase and catalase production were tested using oxidase discs respectively. Acid production from carbohydrates was tested under anaerobic conditions with peptone water and phenol red (0.0018g/L) containing sugar at final concentration of 1%. Citrate utilization was determined in tubes of simmons’ citrate agar,H2S production was assayed in tubes of triple sugar iron agar medium (TSI,Difico).KB001:HiMViCTM Biochemical kit and KB009 HiCarbohydrateTM kits (HiMedia) were used along with conventional tube or plate assay methods to prepare the biochemical profile of isolates.

Elemental analysis of water samples: Elemental analysis of water samples from Ludhiana, Nawah Shehar, Patiala, Hoshiarpur and Jalandher was carried out in the Department of Soils using ICAP-AES, PAU, Ludhiana .

RESULTS AND DISCUSSION

SURVEILLANCE STUDY OF WATER SUPPLY

The magnitude of human morbidity and mortality associated with waterborne infectious diseases has led to the development of epidemiological surveillance studies. The presence of any indicator (total or feacal coliforms) in finished water suggests break in treatment barriers, indicating risk to public health.Biofilms are formed in water distribution system, in inner walls of pipes and taps which  consists primarily of viable and nonviable microorganisms embedded in polyanionic extracellular polymeric substance anchored to a surface

Municipal Corporation Supply

The monitoring of microbiological water safety was analyzed for limited number of well chosen parameters instead of screening for all the possible pathogens.

Microbiological analysis of water in different localities of Ludhiana was conducted for a period of 1 year (Table 1).A total number of 110 drinking water samples were examined out of which, 37 samples were potable (34%) and 73 were non potable (66%). None of the samples from Haibowal and Taj Pur was potable, followed Urban Vihar (9) and Punjab Mata Nagar (8). A sewage effluent brooke named Buddha Nala flows through Haibowal and due to presence of slums their prevail unhygienic conditions, overcrowding, improper disposal of sewage and water, low sanitary conditions which has resulted in continuous endemic in this area, resulting in maximum non potable samples. In Punjab Mata Nagar, crossing over of sewage pipes with fresh water supply, non chlorination of water reservoir and lackadaisical attitude of Municipal Corporation authorities were responsible for non potable samples. The incidence of the resulting diseases increased during monsoon season because of land surface flooding and surface run off. People residing in these areas besides throwing garbage and litter on the roads, had taken illegal water and sewerage connections. As a result of wrong alignment of water pipeline, sewerage water starts intermixing with the drinking water.

The highest percentage of potable sample were reported from Bhai Randhir Singh Nagar (70%) Raj Guru Nagar (70%) and Sarabha nagar ( 70%). The MPN index/100ml of different area like Haibowal , Tara pur Road, Maharaj Nagar and urban Vihar was >1500 coliforms/100ml, Raj Guru Nagar, Bhai Randhir Singh Nagar ,Sarabha Nagar MPN index/100ml was < 500 coliforms/100ml (Table 2).

Eight different types of pathogenic bacteria were isolated from 37non-potable water samples supplied by Municipal Corporation. E. coli was isolated from 80 % of samples, Enterobacter from 85% samples, Pseudomonas form 40% samples, Klebsiella from 80% samples, Streptococcus faecalis was isolated from 70% samples and Aeromonas from 80% samples, Yersinia from 40%and Proteus from 80% samples (Fig. 1).

Membrane Filters

Water samples from 40 filters were drawn and tested for potability (Table3). A total of 80% of samples were non-potable after 96 hrs of incubation. Indicator bacteria in filtered water exposed to numerous physical and chemical factors that are stressful resulting injury, required prolonged incubation of 96 hrs. These injured and stressed bacteria fail to grow under selective condition commonly used for their detection.

Incidence of emerging pathogen in piped Potable water supply

There is no regulation governing the presence of Aeromonas hydrophila, Yersinia enterocolitica and   Proteus mirabilis in India. Drinking water is not tested for these organisms directly, instead E.coli is used as an indicator of their presence. The piped water tested potable by conventional indicator technique were positive for emerging pathogens so researchers has to focus on safe drinking water regulation amendment. A total of 81% of potable water sample were positive for Aeromonas hydrophila, 60% were positive for Yersinia enterocolitica and  84% were positive for Proteus mirabilis (Table4).

Aeromonas hydrophila

Aeromonas is a causative agent of gastroenteritis and ubiquitous in water including chlorinated water (Gavriel et al 1998). Some strains of Aeromonas isolated from water possess virulence traits, such as adhesions,hemolysins and cytotoxic enterotoxins presumably involved with human pathogenicity (Schubert 2000). All the isolates morphologically and biochemically were identical and showed the typical characteristics of   Aeromonas hydrophila. Gram negative ,motile, occurring in pairs ,colonies on TSA agar plates were creamy-white, circular and convex with an entire margin, developing with in 48 hrs at 22 o  .All the isolates were  catalase and oxidase positive, carbohydrate utilized include arabinose ,saccharose , trehalose and glucose. Carbohydrates like xylose , melibiose , adonitol  rhamnose ,cellobiose ,raffinose were not utilized (Table 5).

Aeromonas can survive standard chlorination and thus recolonize the water distribution networks after the chlorination process (Van der Kooij 1991).Production of antimicrobial by Aeromonas hydrophila also reported (Amjab et al 2006) that inhibit the growth of Staphylococcus aureus, E. coli ,Klebsiella pneumoniae and candida albicans. The presence of A. hydrophila in  drinking water need public health appraisal and that further work should be undertaken to permit reevaluation of standards for the quality of drinking water .

Yersinia enterocolitica

Yersinia enterocolitica  is emerging world wide as enteric pathogen responsible for a wide spectrum of clinical manifestation  including acute gastroenteritis (Okwori et al 2007).Out of 37 potable water sample screened  for Y. enterocolitica  22 (60%) were positive. Water samples were streaked on Cefsulodin-irgasan-novobiocin (CIN) incubated at 25 oC, after 18-24hrs of incubation presumptive Y. enterocolitica  produce characteristic bull eye morphology with deep red center and clear colourless periphery (Table 5). All the isolates showed oxidase negative and catalase positive. Indole and Methyl red positive, Voges Proskauer’s negative. All isolate had ornithine decarboxylase activity but no lysine decarboxylase activity. H2S was not produced by most of the isolates. Carbohydrates utilized were arabinose, xylose, saccharose, trehalose, cellobiose and glucose. Other carbohydrates were not utilized by all the isolates

Proteus mirabilis

Proteus mirabilis after initial colonization ascends the ureters and initiates an interaction with epithelial cells of the renal pelvis, which allows colonization of the kidney. A total of 84% of potable water sample, were positive for P.mirabilis. All isolates were subjected to biochemical characterization by using HiMedia biochemical kit (Table 5). Isolates were oxidase negative, catalase and methyl red positive. Voges proskauer’s and indole negative , capable of utilizing citrate as a sole carbon source , show lysine decaroxylase and ornithine decaroxylase activity. All the isolates were able to utilize malonate. Carbohydrates utilized include xylose, saccharose, trehalose and glucose.

ELEMENTAL ANALYSIS OF WATER SAMPLES

Heavy metals even at low concentrations can cause toxicity to human and other forms of life. The toxicity of heavy metals ion is owing to their ability to bind with protein molecules and prevent replication of DNA and thus subsequent cell division .To avoid health hazards it is essential that these metal should present within the permissible limits as recommend by BIS or WHO. The results shown that concentration of all the 20 elements were below the permissible limits in all the samples studied (Table 13). The elements which were selected to analyze are required by human body in trace amounts for carrying out metabolic pathways and by coenzymes and are supplied in water and food. The excess of these elements in water cause various health problems in our body. Excess concentration of heavy metals like As, Pb, Cu, Zn, Cd, Cr, Hg results when discharge from sewage and industrial waste get mixed with water distribution supply.  Excess concentration of arsenic 0.05 ppmis carcinogenic, gets accumulated in body tissues causing arsenosis affecting and excess concentration of lead (0.05 ppm), causes lead poisoning. In case of elements like AI, Na, Ca, B, Fe, K, Mg and S which are essential elements, were also present below the permissible limits in all the samples. Many of the above elements like P which is an important constituent of cell membrane, taken by the body in the form of phosphate. The effect of elements if exceeded beyond their permissible limits not only affect human system but some elements like Fe and Mn causes corrosion or encrustation of pipeline walls or clog the pipelines resulting in accumulation of organic matter and biofilm formation.

Table 1. Microbiological survey of water samples for potability supplied by Municipal Corporation

| Sr. no. | Source | Number of samples analyzed | Quality of water |
| --- | --- | --- | --- |
|  | Municipal corporation |  | Potable | Non-potable |
| 1 | Dugri | 10 | 1 | 9 |
| 2 | Haibowal | 10 | 0 | 10 |
| 3 | Model town | 10 | 4 | 6 |
| 4 | Bhai Randhir Singh Nagar | 10 | 7 | 3 |
| 5 | Karnail Singh Nagar | 10 | 5 | 5 |
| 6 | Punjab Mata Nagar | 10 | 2 | 8 |
| 7 | Sarabha Nagar | 10 | 7 | 3 |
| 8 | Raj Guru Nagar | 10 | 7 | 3 |
| 9 | Urban Vihar | 10 | 1 | 9 |
| 10 | Tarapur Road | 10 | 0 | 10 |
| 11 | Maharaj Nagar | 10 | 3 | 7 |
|  |  | 110 | 37 | 73 |

Table 2 Enumeration of coliforms by MPN method at 37° C

| MPN index/100ml | Area |
| --- | --- |
| <500 | Raj Guru Nagar |
|  | Bhai Randhir Singh Nagar |
|  | Sarabha Nagar |
| 500-1000 | Karnail Singh Nagar |
| 1000-1500 | Punjab Mata Nagar |
|  | Model Town |
|  | Dugri |
| >1500 | Haibowal |
|  | Tarapur Road |
|  | Maharaj Nagar |
|  | Urban Vihar |

Table3 Microbiological survey of piped tap water and filtered water samples

| Sr. no. | Source | % of non-potable sample | Quality of water |
| --- | --- | --- | --- |
| 1 | Membrane filter | 80% | Non-potable after 96 hrs of incubation |
| 2 | Tap water | 100% | Non-potable after 48 hrs of incubation |

Table 4 Incidence of emerging pathogens in potable piped water sample

| Emerging microorganisms | Presence in potable water sample |
| --- | --- |
| Aeromonas hydrophila | 81% |
| Yersinia enterocolitica | 60% |
| Proteus mirabilis | 84% |

Table 5 Biochemical characteristics of emerging pathogens

| Biochemical properties | Aeromonas hydrophila | Yersinia enterocolitica | Proteus mirabilis |
| --- | --- | --- | --- |
| ONPG | + | + | - |
| Lysine | + | - | - |
| Ornithine | - | + | + |
| Urease | - | + | + |
| TDA | - | - | + |
| Nitrate | + | + | + |
| H2S | - | - | + |
| Citrate utilization | - | - | + |
| Voges Proskauer’s | + | - | - |
| Methyl red | + | + | + |
| Indole | + | + | - |
| Malonate | - | - | - |
| Esculin hydrolysis | + | - | - |
| Arabinose | + | + | - |
| Xylose | - | + | + |
| Adonitol | - | - | - |
| Rhamnose | - | - | - |
| Cellobiose | - | + | - |
| Melibiose | - | - | - |
| Saccharose | + | + | + |
| Raffinose | - | - | - |
| Trehalose | + | + | + |
| Glucose | + | + | + |
| Lactose | - | - | - |
| Oxidase | + | - | - |

Table 6(a).ELEMENTAL ANALYSIS OF WATER SAMPLES

| Address | B PPM (1) | Ca PPM (75) | Cu PPM (0.05) | Fe PPM (0.3) | K PPM |
| --- | --- | --- | --- | --- | --- |
| Banur-Kharar Road | 0.125 | 17.17 | 0.003 | 0.048 | 2.38 |
|  | 0.233 | 47.79 | 0.006 | 0.088 | 63.64 |
| UCO Bank, Landran, Kharar | 0.140 | 66.58 | 0.004 | nd | 1.36 |
| L.C. Road, Morinda | 0.182 | 40.49 | 0.008 | nd | 7.13 |
| Phagwara | 0.284 | 83.42 | 0.040 | 0.011 | 5.19 |
| Satnampura, Phagwara | 0.110 | 75.74 | 0.005 | nd | 6.47 |
| Hadiabad, Phagwara | 0.257 | 71.45 | 0.006 | nd | 4.43 |
| Karyam Road, Nawah Shehar | 0.081 | 64.61 | 0.008 | 0.045 | 3.93 |
| Banga Road, Nawah Shehar | 0.318 | 75.34 | 0.028 | 0.127 | 5.66 |
| Chandigarh Road, Nawah Shehar | 0.123 | 102.82 | 0.047 | 0.016 | 4.04 |
| Near Bus Stand, Hoshiarpur | 0.088 | 74.50 | 0.015 | 0.017 | 3.82 |
| Jalandhar Rd, Hoshiarpur. | 0.080 | 89.09 | 0.059 | 0.014 | 1.12 |
| OBC, Jalandhar Rd, Hoshiarpur | 0.061 | 78.45 | 0.006 | nd | 1.77 |
| Bidhipur Fatak, Jalandhar | 0.144 | 35.04 | 0.004 | nd | 4.55 |
| G.T. Road, Dayalpur, Jalandhar City | 0.050 | 74.91 | 0.011 | 0.035 | 6.30 |
| Sarawaan Village, Jalandhar | 0.123 | 47.73 | 0.002 | 0.004 | 6.48 |
|  | 0.079 | 88.65 | 0.012 | 0.210 | 10.31 |
| V. Mehmodpur, Balachaur | 0.202 | 55.42 | 0.004 | 0.082 | 8.04 |
| V & PO, Balachaur | 0.100 | 55.02 | 0.069 | 0.002 | 2.83 |
| V&PO Garhi Kangoan, Balachaur | 0.184 | 37.60 | 0.003 | nd | 3.18 |
| VPO Ladni, Mehatpur, Balachar | 0.118 | 30.16 | 0.009 | 0.014 | 2.17 |
| Ward NO. 2, Balachaur | 0.223 | 42.78 | 0.002 | nd | 3.18 |
| St. No. 1, Patiala | 0.306 | 64.32 | 0.013 | 0.155 | 8.20 |
| , Dyres and Dry Cleaners Ragho-Majro, Patiala | 0.256 | 51.00 | 0.002 | 0.042 | 9.20 |
| Satya Naryan Mandir, Arya Samaj | 0.492 | 56.35 | 0.008 | 0.080 | 7.66 |
| Baddi Nadi, Patiala | 0.277 | 56.16 | 0.013 | 0.115 | 7.07 |
| , Near Choti Nadi, Patiala | 0.323 | 50.51 | 0.028 | 0.372 | 6.68 |

Table 6(b).ELEMENTAL ANALYSIS OF WATER SAMPLES

| Address | B PPM (1) | Ca PPM (75) | Cu PPM (0.05) | Fe PPM (0.3) | K PPM |
| --- | --- | --- | --- | --- | --- |
| Banur-Kharar Road | 0.125 | 17.17 | 0.003 | 0.048 | 2.38 |
|  | 0.233 | 47.79 | 0.006 | 0.088 | 63.64 |
| UCO Bank, Landran, Kharar | 0.140 | 66.58 | 0.004 | nd | 1.36 |
| L.C. Road, Morinda | 0.182 | 40.49 | 0.008 | nd | 7.13 |
| Phagwara | 0.284 | 83.42 | 0.040 | 0.011 | 5.19 |
| Satnampura, Phagwara | 0.110 | 75.74 | 0.005 | nd | 6.47 |
| Hadiabad, Phagwara | 0.257 | 71.45 | 0.006 | nd | 4.43 |
| Karyam Road, Nawah Shehar | 0.081 | 64.61 | 0.008 | 0.045 | 3.93 |
| Banga Road, Nawah Shehar | 0.318 | 75.34 | 0.028 | 0.127 | 5.66 |
| Chandigarh Road, Nawah Shehar | 0.123 | 102.82 | 0.047 | 0.016 | 4.04 |
| Near Bus Stand, Hoshiarpur | 0.088 | 74.50 | 0.015 | 0.017 | 3.82 |
| Jalandhar Rd, Hoshiarpur. | 0.080 | 89.09 | 0.059 | 0.014 | 1.12 |
| OBC, Jalandhar Rd, Hoshiarpur | 0.061 | 78.45 | 0.006 | nd | 1.77 |
| Bidhipur Fatak, Jalandhar | 0.144 | 35.04 | 0.004 | nd | 4.55 |
| G.T. Road, Dayalpur, Jalandhar City | 0.050 | 74.91 | 0.011 | 0.035 | 6.30 |
| Sarawaan Village, Jalandhar | 0.123 | 47.73 | 0.002 | 0.004 | 6.48 |
|  | 0.079 | 88.65 | 0.012 | 0.210 | 10.31 |
| V. Mehmodpur, Balachaur | 0.202 | 55.42 | 0.004 | 0.082 | 8.04 |
| V & PO, Balachaur | 0.100 | 55.02 | 0.069 | 0.002 | 2.83 |
| V&PO Garhi Kangoan, Balachaur | 0.184 | 37.60 | 0.003 | nd | 3.18 |
| VPO Ladni, Mehatpur, Balachar | 0.118 | 30.16 | 0.009 | 0.014 | 2.17 |
| Ward NO. 2, Balachaur | 0.223 | 42.78 | 0.002 | nd | 3.18 |
| St. No. 1, Patiala | 0.306 | 64.32 | 0.013 | 0.155 | 8.20 |
| , Dyres and Dry Cleaners Ragho-Majro, Patiala | 0.256 | 51.00 | 0.002 | 0.042 | 9.20 |
| Satya Naryan Mandir, Arya Samaj | 0.492 | 56.35 | 0.008 | 0.080 | 7.66 |
| Baddi Nadi, Patiala | 0.277 | 56.16 | 0.013 | 0.115 | 7.07 |
| Near Choti Nadi, Patiala | 0.323 | 50.51 | 0.028 | 0.372 | 6.68 |

Table 6(c).ELEMENTAL ANALYSIS OF WATER SAMPLES

| Address | Mg PPM (30) | Mn PPM (0.05) | P PPM | S PPM | Zn PPM (5) | Result (Potable/not potable) |
| --- | --- | --- | --- | --- | --- | --- |
| Banur-Kharar Road | 16.73 | 0.011 | 0.073 | 3.24 | 0.019 | Potable |
|  | 28.61 | 0.046 | 0.090 | 11.62 | 0.018 | Potable |
| UCO Bank, Landran, Kharar | 29.64 | 0.003 | 0.070 | 11.66 | 0.013 | Potable |
| L.C. Road, Morinda | 31.93 | 0.079 | 0.073 | 5.12 | 0.146 | Potable |
| Phagwara | 31.22 | 0.014 | 0.066 | 10.40 | 0.559 | Potable |
| Satnampura, Phagwara | 27.11 | 0.155 | 0.077 | 6.99 | 0.876 | Not Potable |
| Hadiabad, Phagwara | 27.73 | 0.002 | 0.059 | 9.08 | 0.143 | Not Potable |
| Karyam Road, Nawah Shehar | 23.94 | 0.031 | 0.070 | 3.37 | 0.286 | Not Potable |
| Banga Road, Nawah Shehar | 35.13 | 0.133 | 0.077 | 4.49 | 2.301 | Potable |
| Chandigarh Road, Nawah Shehar | 25.05 | 0.032 | 0.056 | 15.75 | 0.452 | Potable |
| Near Bus Stand, Hoshiarpur | 19.40 | 0.234 | 0.063 | 20.97 | 2.090 | Potable |
| Jalandhar Rd, Hoshiarpur. | 14.30 | 0.84 | 0.073 | 8.79 | 0.640 | Potable |
| OBC, Jalandhar Rd, Hoshiarpur | 11.03 | 0.296 | 0.045 | 11.35 | 0.120 | Potable |
| Bidhipur Fatak, Jalandhar | 17.65 | 0.006 | 0.087 | 5.61 | 0.110 | Not Potable |
| G.T. Road, Dayalpur, Jalandhar City | 15.97 | 0.259 | 0.052 | 11.29 | 0.464 | Potable |
| Sarawaan Village, Jalandhar | 14.12 | 0.005 | 0.052 | 7.18 | 0.040 | Potable |
|  | 20.14 | 0.170 | 0.052 | 12.51 | 1.702 | Potable |
| V. Mehmodpur, Balachaur | 23.64 | 0.138 | 0.049 | 5.74 | 0.077 | Not Potable |
| V & PO, Balachaur | 24.08 | 0.008 | 0.063 | 2.23 | 1.196 | Potable |
| V&PO Garhi Kangoan, Balachaur | 20.84 | 0.012 | 0.035 | 0.77 | 0.043 | Potable |
| VPO Ladni, Mehatpur, Balachar | 7.37 | 0.034 | 0.042 | 6.73 | 0.261 | Potable |
| Ward NO. 2, Balachaur | 21.80 | 0.010 | 0.045 | 2.16 | 0.428 | Potable |
| St. No. 1, Patiala | 36.99 | 0.115 | 0.066 | 31.10 | 0.563 | Potable |
| Dyres and Dry Cleaners Ragho-Majro, Patiala | 37.98 | 0.035 | 0.073 | 44.07 | 0.591 | Potable |
| Satya Naryan Mandir, Arya Samaj | 28.83 | 0.076 | 0.066 | 44.15 | 0.595 | Potable |
| Baddi Nadi, Patiala | 24.30 | 0.092 | 0.066 | 6.76 | 0.421 | Potable |
| , Near Choti Nadi, Patiala | 28.26 | 0.054 | 0.070 | 48.43 | 0.064 | Potable |

CONCLUSION

1) The assessment of coliform and faecal indicator bacteria has significant limitation with regard to emerging microbial bacteria in potable water supply with respect to  public health.

2)  Occurrence of coliform and emerging pathogens in finished water in the absence of known breaches of treatment, or barrier continue to be a major problem in distribution    pipes and drinking water industry.

3)  To accurately assess and manage risks from waterborne diseases, it is necessary to understand distribution of pathogens, impact of plumbing lines, disinfectants and survival strategies of pathogens with in water

4) There is need to improve out moded risk assessment protocols improve dissemination of information on water testing so as to coordinate surveillance system for the early detection, tracking and evaluation of the emerging waterborne pathogens.

REFERENCES

American Public Health Association (1998) Standard methods for the examination of water and wastewater, 16th ed. AWWA, WEF, Washington, DC.

Amjab B K, Musa A Z and Mohammad Al Q (2006) Production of antimicrobial agents from thermophilic Yersinia sp 1 and Aeromonas hydrophila isolated from hot spring in Jordan Valley. Biotechnol. 5 (3): 252-56.

Ashbolt N J (2004) Microbial contamination of drinking water and disease outcome in developing regions. Toxicol 198: 229-38.

GavrielA A, Landre J P, Lamb A J (1998) Incidence of mesophilic Aeromonas within a public drinking water supply in North-East Scotland. J Appl Microbiol 84:383-92.

Okwon A E J, Agada G O A, Olabode A O, Agina S E, Okpe E S and Okopi (2007) The prevalence of pathogenic Yersinia enterocolitica among diarrhea patients in Jos, Nigeria. African J Of Biotechnol 6 (8): 1031-34.

Schubert R H (2000) Intestinal cell adhesion and maximum growth temperature of psychrotrophic aeromonads from surface water. Int J Hyg Environ Health 203: 83-85

Szewzyk U,  Szewzyk R, Manz Schleifer W and Schleifer K H (2000). Microbiological safety of drinking  water. Ann Rev  Microbiol 54: 81-127.

Van der Kooij D (1991) Nutritional requirements of Areomonas and their multiplication in drinking water. Experimentia 47: 444-46.

World    Health   Organization (WHO). 2006. Guidelines for drinking-water quality: First Addendum to third edition. Vol. 1. Geneva.

10/27/2009