Sorbent capacities and intensities of thermochemically cracked shea nut shells for the removal of waste water dyestuff

A.U.Itodo1;F.W.Abdulrahman2;L.G.Hassan2;S.A.Maigandi3; U.O.Happiness4

1Department of Applied Chemistry, Kebbi State University of Science and Technology, Aliero, Nigeria.

2Department of Pure and Applied Chemistry, Usmanu Danfodiyo University, Sokoto

3Faculty of Agriculture, Usmanu Danfodiyo University, Sokoto

4Department of Chemistry,Benue State University, Makurdi.

Corresponding Author1 Email: itodoson2002@yahoo.com

Tel: +2348073812726, +2348039503463

Abstract: The sorbent capacities and intensities of activated carbon by one-way thermochemical pyrolysis of shea nut shells were studied on waste water dye removal and the results are presented in this paper. The relationship between the ordinary (kf), maximum (qm) ,and theoretical saturation capacities (qD ) were also investigated to follow the order ; qm > qD > kf. H3PO4 catalyzed sorbent at a longer activation dwell time, SS/A/15 presented a higher adsorption capacities (qm=6.024 mgg-1,qD=4.189 mgg-1 and kf = 0.628 ) and higher sorption intensity (1/n =0.714) ,than the other 3 series.The high % dye removal (%RE up to 84.80%), adsorption normalcy (1/n <1 and RL<1) and good applicability (R2 >0.869) are critical for considering shea nut shells as precursor for generating low cost active biosorbents.

Key words: Adsorption capacities, intensities, Dye, Shea nut shells, waste water

INTRODUCTION.

Textile, just like plastic and paint industries is known to utilize a great deal of water and thus releases large quantities of waste water from different stages in the dyeing process (Hameed and Hakimi,2008) some stages requiring water utilization includes scouring and rinsing, bleaching, dyeing and printing (USEPA, 1991). Effluent derived from the textile and dyestuff activities can provoke serious environmental damage on neighboring water receptor bodies and the ever increasing populace. The main threat is the toxin, chlorolignin and dark coloration (Hameed, 2009)

Various treatment technologies have been developed for purification of waste water. The most commonly used methods includes chemical precipitation, solvent extraction, oxidation reduction, electro dialysis, electrolyte extraction, reverse osmoses, ion exchange, evaporation concentration adsorption, filtration etc. Among these methods, adsorption has evolved as the optimum choice (Mohan and Signh, 2001). Activated carbon includes wide range of amorphous carbon based material prepared to exhibit a high degree of porosity and an extended inter-particulate surface area (Zahangir et al., 2008). These qualities impart activated carbon with excellent adsorbent characteristics that make it useful for filtration, purification, deodorization, decolorization and separation (Zahangir et al., 2008).

Adsorption on activated carbon has long been recognized to be one of the most effective methods for removal of organic compounds, including dyestuff from aqueous solutions. Agriculture waste such as oil palm nut shells, rice husks, olive waste cakes, coconut shells and guava seeds have be reportedly used (Rahman et al., 1997 Rahman et al ., 2000; Rahman et al 2002 ) .wastes of animal origin such as human hair, cow biosolids, poultry litter, blood, Fish, etc. were also reported (Itodo et al.,2008).

Adsorption isotherms can be generated based on numerous theoretical explanations. The simplest model that can be used to describe monolayer adsorption is the Langmuir equation (Meghea et al., 1998). The Langmuir equation is based on kinetic approach and assumes a uniform surface, a single layer of adsorbed material and constant temperature. This model is useful when there is a strong specific interaction between the surface and the adsorbate so that a single adsorbed layers forms and no indication of formation of multilayer adsorption. The driving force is the concentration of adsorbate in the fluid and the area or amount of bare surface (Chilton et al., 2002).  Hameed, 2009 presented a linearized form of the Langmuir equation as ;

1/qe =1/kaqmCe +1/qm --------------------- (1)

Where qm (mgg-1) and ka (L/mg) are Langmuir constant related to the maximum adsorption capacity and energy of adsorption respectively. These constants are calculated from the plot of 1/qe verses 1/Ce (Hameed,2009).

Mattson and mark (1971): in Chilton et al., 2002 described Freundlich model as the most popular adsorption model for a single solute system. This model is an empirical equation based on the distribution of solute between the solid phase and the aqueous phase at equilibrium. The bases of the Freundlich equation is given as equation (2)

x/m = kCe 1/n  ------------------------------(2)

where, for the purpose of this research, x is the amount of dye adsorbed (mg), m is the weight of sorbent or sorbent dose (g) , x/m = qe is the amount of dye adsorbed by a unit mass of sorbent, Ce (mgl-1) is the equilibrium concentration of dye in solution while k and n are empirical constant equation 2 can further be rearranged as equation 3

log qe = log kf + (1/n) log Ce ------------------------(3)

this empirical equation has no bases in theory but made two assumptions which are (i) it assume heterogeneous surface energies (Hameed et al., 2006) that is, exponential variation in site energies (ii) it assumed that surface adsorption is not the rate limiting step. (Chilton et al., 2002). kf (mgg-1(1mg-1)n is the Freundlich constant implying the adsorption capacity (Hameed et al, 2006) one most important parameters in equation (3) above is the 1/n value. 1/n ranging between 0 and 1 is the measure of the adsorption intensity or surface heterogeneity. surface becomes more heterogeneous as 1/n gets closer to zero. It describe adsorption as either normal (1/n <1) or as a cooperate adsorption (1/n >1) (Hameed et al., 2006). Chilton et al., 2002 argued that large values for 1/n indicate a larger change in effectiveness over different equilibrium concentrations and that when 1/n > 1.0 the change in adsorbed concentration is greater than the change in solute concentration. Generally the higher the qe value at a specified concentration, the more preferred is the biosorbent for that application (Chilton et al., 2002).Chen et al .,(1997) added that adsorption isotherms expressed as Freundlich isotherm constant are a better measure of the adsorption properties of biosorbent than the one –point  tests , such as iodine, molasses or tannin numbers (chen et al ., 1997).

Other types of commercial dyes have been worked upon. The removal of methylene blue and malachite green by agro waste was reported by Guo et al., (2003), Garg et al., (2004), however, relatively little or no work has been reported on the adsorption of industrial dye from dyeing waste water onto chemically catalyzed shear butter shells. In this present work, we reported our evaluation on the feasibility of using shea nut shell activated carbon, studying its adsorption properties for removal of industrial dyestuffs from waste water. This paper therefore, presents three adsorption isotherms (R-D, Langmuir and Freundlich isotherms) generated for shea nut shells (sorbent) and dyeing waste water (sorbate) system. The purpose of the study was to evaluate their adsorption capacities which are quantified as saturated (qD), maximum (qm) and ordinary Freundlich (Kf) adsorption capacities, with the adsorption intensity (1/n) as it relates to the use of shea nut shells bio adsorbent for industrial waste water treatment.

Materials and Methods

Exhausted and deseeded shea nut shells, obtained from Rikoto, zuru in Kebbi state, Nigeria was used as raw material for the production of activated carbons via thermochemical activation.

Industrial dyeing waste water was procured in plastic container from Chellco textile industries, Kaduna without further treatment. 1000 mgg-1 concentration brix was prepared from the dye waste water concentrate from which working standard were prepared.

The apparatus and experimental methods in this work are similar to those for chemical activated with ZnCl2 as reported previously by Tsai et al., 2001) for thermochemical activation. Initial weight of the grinded pretreated shear butter shell was measured into crucibles and mixed with 3cm3 of 1M activating agent (H3PO4 and ZnCl2). The mixture was allowed to stand for one hour and then fired in a furnace at 800o C for 5 minutes and 15 minutes series, (Alam et al .,2007) the samples were both acid and water washed to remove residual ash and chemicals respectively (Itodo et al., 2008).This is followed by oven drying at 110oC  overnight and stored for further analysis (Tsai et al, 2001)The generated samples (biosorbents) were separately labeled as SS/A/5, SS/A/15, SS/Z/5 and SS/Z/15 implying shea nut shell, activated with either H3PO4 (A) or Zncl2 (Z) at 5 minutes or 10 minutes dwell time.

Adsorption Study: The adsorption capacities of biosorbent produced form shea nut shells was measured under the effect of contact time, nature of activating agent and initial dye concentration. A concentrate which was obtained from mild temperature evaporation of the dye waste water in an oven to a constant weight was used to prepare a 1000mgl-1 stock from which 10- 50 mgl-1 working dye standard solutions were prepared. 10 cm3 of each dye sample was interacted with 0.1g of biosorbent and allowed to equilibrate for one hour (Turoti et al., 2007). The mixture was then filtered, using a Wattman number 42 filter paper after which the residual dye concentration (ce) in the filtrates were measured using Jenway 1600 spectrophotometer at room temperature (300.15k) which was set at a predetermined wavelength of 640 nm.

The amount of dye absorbed and % dye removal were calculated form the difference between the initial concentration and equilibrium concentration as shown in equation(4) and (5)  respectively

qe=(Co-Ce) v/m ----------------------  (4)

% RE = (Co-Ce /Co) x 100 ------------------------ (5)

Where qe is the amount of dye adsorbed per unit mass of adsorbate (mgg-1).It is a measure of adsorption capacity. Co and Ce are the initial and equilibrium dye concentration respectively (g) and v (L) is the adsorbent dosage and volume of dye solution respectively (Zahangir et al., 2008).

Results and Discussions

Figure (1) present the percent dye removal at different initial dye concentration for one hour equilibration time.

The % dye removal by the four sorbent series follows the order, SS/A/15 > SS/A/5 > SS/Z/15 >SS/Z/15. Results in this study revealed that biomass activated at a longer dwell time (15 minutes) gave higher percents dye uptake (74.172-84.800 %). ZnCl2 is a less favorable activating agent especially when cracking or pyrolysis is done at short dwell time. This however could be linked to a lesser developed pore size associated to short activation time and also due to steric hindrance, which may results from the nature of activating agent as well as activation time. Values obtained for SS/Z/5 (33.144-59.600%) are lower compared to the values (41.06-76.80%) of the same sample (SS/Z/15) activated at longer time.

Table 1: Freundlich adsorption experimental data of dye sorption by SS biosorbent.

| Biosorbent | Equation (y=) | Linearity (R2) | 1/n | Kf (mgg-1(mg-1)n) | positions R2 1/n |
| --- | --- | --- | --- | --- | --- |
| SS/A//5/ | 0.587x-0.190 | 0.974 | 0.587 | 0.646 | Second | Second |
| SS/Z,5 | 0.519x-0.506 | 0.918 | 0.519 | 0.312 | Third | Third |
| SS/A/15 SS/Z/15 | 0.714x-0.202 0.392x-0.190 | 0.989 0.869 | 0.714 0.392 | 0.628 0.646 | First fourth | First fourth |

SS/z/5 – shea nut shells, treated with ZnCl2, activation for 5 minute dwell time.A-H3PO4, 15-activation dwell time of 15 minutes

The data in the above table were generated from figure type represented as figure 2. The table shows that the modeling of data generated using Freundlich isotherm gave a good linearity and applicability (R2>0.869) for all the sorbent. The trend of best fit follows the order; SS/A/15/Co (0.869) > SS/A/5/Co (0.974)...The extent of applicability for this acid modified sorbent is greater than those catalyzed by salt… > SS/A/5/Co (0.918) > SS/Z/15/Co (0.869).  It was also conveniently justified that the ranking based on the adsorption intensity (1/n) follows the same trend as does, the applicability test displayed earlier. Thus, the adsorption intensity of sorbent  SS/Z/15 (0.392) is least among the series. 1/n <1 is an indication of normal adsorption (Hameed, 2009).

The degree of heterogeneity of adsorption surface was also measured from the 1/n values. According to Hameed et al., (2006) the Freundlich equation slope (1/n), ranging between 0 and 1 is a measure of surface heterogeneity. Surface become more heterogeneous as 1/n values get closer to zero (Hameed et al.,2006). Based on this, Sorbents, activated at longer dwell time, 15 minutes presented a more heterogeneous surface. This finding could be linked to the nature of activating agent, since SS/Z/5 is next to SS/Z/15 in surface heterogeneity.

Kf, is the Freundlich constant which denote or depicts the adsorption capacity, unit in mgg-1 (1mg-1)n of adsorbent. It is defined as the adsorption or distribution coefficient and represents the quantity of dye adsorbed onto the sorbent for the a unit equilibrium concentration. Biomass, activated with ZnCl2 at a longer dwell time presented a higher adsorption capacity, SS/Z/15 (0.646) as does the sample with H3PO4 at shorter dwell time SS/A/5 (0.646). It thus, follows that for acid and salt catalysis in generation of high capacity biosorbent, biomass require a shorter and longer activation dwell time respectively.

Good linearity and applicability of the Langmuir model was evidenced by high R2 values (≤ 0.979) for all the samples as shown on figure 3 and presented on table 2.

The Langmuir constant, relating to the maximum adsorption capacity (qm) was investigated. Sorbent, SS/A/15 gave the highest value for maximum adsorption capacity (6.124 mgg-1). This is in agreement with the highest adsorption capacity value present by acidic sorbents from the Freundlich constants (kf = 0.646). This work uncovered the fact that the maximum adsorption capacity of any series (obtained from the Langmuir relationship) should be higher than their corresponding adsorption capacities values (kf) from the Freundlich isotherm. This can be recalled by comparing table 1 and 2 with qm and (kf) values as; 5. 102 (0.646), 2.611 (0.312), 2.801(0.626) and 6.024 (0.646) for sorbents SS/A/5, SS/Z/5, SS/A/15 and SS/Z/15 respectively.

Table 2: Langmuir isotherm experimental data for dye uptake by SS biosorbent

| Biosorbent | Equation (y=) | Linearity (R2) | qm(mgg-1) | Ka(Lmg-1) | RL position qm |
| --- | --- | --- | --- | --- | --- |
| SS/A//5/ | 1.743x+0.196 | 0.989 | 5.102 | 0.112 | 0.152 | second |
| SS/Z,5 | 5.348x+0.383 | 0.983 | 2.611 | 0.072 | 0.217 | fourth |
| SS/A/15 SS/Z/15 | 1.562x+0.166 2.123x+0.357 | 0.991 0.979 | 6.024 2.801 | 0.106 0.168 | 0.158 0.106 | First third |

SS/z/5 – shea nut shells, treated with ZnCl2, activation for 5 minute dwell time.A-H3PO4, 15-activation dwell time of 15 minutes

Table 2 also revealed the values of the Langmuir constants, ka (Lmg-1) which directly affects the energy of adsorption (Hameed, 2009). Sorbent with high energy related value, ka on table 2 presented low adsorption intensity as it was deduced from the Freundlich constant on table 1. The Ka and (kf) values include 0.168 (0.628) and 0.112 (0.646) for SS/A/15 and SS/A/5 respectively.

The feasibility of the adsorption process was tested from the RL magnitude given as equation  6 as;

RL = 1/ (1+Ka Co) ------------------  (6)

Where RL is the essential of the Langmuir equation used in testing adsorption feasibility. Ka is the Langmuir constant related to energy of adsorption (Lmg-1) and  Co is the highest initial dye concentration among the series of different sorbents concentrations (Monika et al., 2009) adsorption could be linear, unfavourable, favorable or irreversible depending on whether the values of RL = 1, >1, <1 and RL = 0  respectively. (Monika et al., 2009). This research presented values (0.106-0.257) which justifies favorable adsorption (0 < RL <1).

A third capacity parameter called theoretical adsorption capacity (qD) was evaluated from the Rudishkevich Dubinin isotherm model, simply denoted as R-D model (figure 4) and known to be more general than both the Langmuir isotherm as its deviation is not based on ideal assumption such as equipotential of sorption sites, absences of steric hindrance between sorbed and incoming particles and surface homogeneity (Monika et al., 2009).

Just like the Freundlich adsorption capacities (kf), it was revealed that the theoretical adsorption capacity (qD) from the R-D  isotherm were also lower in magnitude than the Langmuir maximum adsorption capacity (qm). Table 3 presented a higher qD values (4.169 mgg-1) for SS/A/15. This value is higher as does its corresponding qm value (6.024 mgg-1) for the same sorbent on table 2.

Table (3): Rudishkevich Dubinin adsorption experimental data of dye sorption by SS biosorbent.

| Biosorbent | Equation (y=) | Linearity (R2) | qD(mgg-1) | positions R2 qD |
| --- | --- | --- | --- | --- |
| SS/A//5/ | -3.383x+0.539 | 0.988 | 3.622 | first | second |
| SS/Z,5 | -5.808x+0.308 | 0.962 | 2.032 | third | fourth |
| SS/A/15 SS/Z/15 | -3.300x+0.620 -3.150x+0.384 | 0.944 0.984 | 4.189 2.421 | Fourth second | First third |

SS/z/5 – shea nut shells, treated with ZnCl2, activation for 5 minute dwell time.A-H3PO4, 15-activation dwell time of 15 minutes

The other qm values were also higher than their corresponding qD and kf evaluated for the entire sorbent series. A summary of the 3 types of sorption capacities obtained from different isotherms and their quantitative trend in this analysis is as represented on table 4.

Table 4: comparison of the normal; theoretical saturation and maximum adsorption capacities of dye uptake by SS Biosorbent.

| Biosorbent | Kf(mgg-1(mg-1)n) | qD(mgg-1) | qm(mgg-1) | Trend | position |
| --- | --- | --- | --- | --- | --- |
| SS/A//5/ | 0.646 | 3.622 | 5.102 | qm> qD> Kf | second |
| SS/Z,5 | 0.312 | 2.032 | 2.611 | qm> qD> Kf | fourth |
| SS/A/15 SS/Z/15 | 0.628 0.646 | 4.189 2.421 | 6.024 2.801 | qm> qD> Kf qm> qD> Kf | First third |

Kf= Freundlich normal adsorption capacity, qD = R-D theoretically saturation adsorption capacity, qm = Langmuir maximum adsorption capacities. SS/z/5 – shea nut shells, treated with ZnCl2, activation for 5 minute dwell time.A-H3PO4, 15-activation dwell time of 15 minutes

Conclusion.

Highlights of results presented in this works shows that shea nut shell is a potentially low cost precursor for generation of activated biosorbent, giving up to 84% dye removal. The isothermal evaluation gave isotherm experimental data that agrees with those of researches reviewed earlier. To this regards, adsorption falls within favorable limits as confirmed from the Freundlich constants (1/n <1) and the essentials of Langmuir model (RL<1). Applicability of the three models follows the trend; Langmuir (R2= 0.979-0.991) > R-D (R2 = 0.944 – 0.988) > Freundlich (0.869-0.989). Both capacities, the normal Freundlich, Langmuir maximum and R-D theoretical adsorption capacities as well as the adsorption intensities  also agrees well with those if similar research. A critical comparative study showed that for all the series of the adsorption study, the values of the maximum saturation capacity (qm) > theoretical adsorption capacities > normal adsorption capacity (kf). The three values for SS/A/15 include 6.024mgg-1, 4.189mgg-1 and 0.628 mgg-1 respectively. The same trend is applicable to the other biosorbent series.

References.

Alam, M. Z; Muyibi, S.A; Mariatul, F. M and Radziah, W (2007). Activated carbon derived from oil palm empty fruit bunches. Journal of environmental science. 30: 315 – 321

Chen, G; Dussert, B; Suffet, I (1997). Evaluation of GAC for removal of methyl: Soborneol to below odour threshold concentration in drinking water.  Water resource. 31 (5): 1155-1163.

Chilton, N., Wayne, E., Ramu, M., Rishipal, R., Jacques, N (2003). Activated carbon from Pecan shell: process Description: Industrial crops and products. 17 (3): 209-217

Hameed, B.H; Din, A. M; Ahmad, A.L. (2006).Adsorption of methylene blue onto Bamboo based activated carbon: kinetics and equilibrium studies. J. Hazardous materials. 137(3):695-9

Garg, V; Amita, M; Kumar R; Gupta, R (2004). Basic dye (Methylene blue) removal from

simulated waste water by adsorption using Indian  rosewood saw dust. Dye and

pigment. 63 (1):243-250

Guo,J.,Lau,A.,(2002). Microporous activated carbons prepared from Palm shell by thermal

activation and their application to SO2 adsorption. Journal of Colloid and  Interface Science.251(2): 242-247. CA 137:253477.

Hameed, B.H, and Hakimi, H. (2008), utilization of durian peels as low cost sorbent for removal of acid dyes. Biochem. Eng. Journal. 39: 338 – 343.

Hameed, B.H.(2009),Evaluation of papaya seed as a non conventional low cost adsorbent for removal of MB. J. Hazardous materials 162:939-944.

Hameed, B.H., Din, A.T.M., Ahmad, A.L.,(2006). Adsorption of Methylene Blue onto Bamboo-based activated carbon: Kinetics and Equilibrium studies. J. Hazard Mater. July 28, 16956720.

Itodo,U,A; Abdulrahman,F,W; Hassan,L,G; Maigandi.(2008),Adsorption capacities and intensities of chemically modified carbon animalis and Activated carbon: A comparative study. International journal of pure and applied science.1(2) :214-221

Mattson and H, Mark (1971), activated carbon. Marcel Dekker inc.  New york.

Rahman, AI, Ismail; J and H. Osman; (1997), effect of HNO3 and digestion on organic materials and silica in rice husks. J. mater chem. 8: 12 -15.

Meghea, A; Rehner, H; peleanu, I (1998), Test – fitting on adsorption isotherms of organic pollutants from waste water on activated carbon. J; Radionuclear chem. 229(2): 105 – 110.

Mohan, D; singh, K (2001), single and multicomponent adsorption of Cd and Zn using activated carbon derived from Bagasse. Water Research J. 36(9): 2304 – 2311.

Monika, J; Garg, V; Kardirvelu, k. (2009), Chromium (VI) removal from aqueous solution, using sunflower stem waste. J. Hazardous materials 162:365 – 372.

Rahman, A; Ismail; J and H. Osman (2002), studies on Zn (11) ion adsorption by rice husks digested with HNO3. Malaysian J. chem. 2(1): 12 – 15.

Tsai, W; Chang, C; Wang, Y; Chang, C., Chien, F; Sun, H (2001) preparation of activated carbon from corn cob catalyzed  by potassium salts and subsequent gasification with CO2.  Bioresource Technology. 78 (2): 203-208.

Turoti, M; Gimba, C; Ocholi, O; Nok, A (2007),Effect of different activation methods on the adsorption characteristic of activated carbon from Kyaya Senegalensis fruits and Delonix Regia pods. Chemclass Journal 1:107-112

USEPA, (1991)- source reduction of chlorinated solvent in textile manufacturing. Bul. Toxic substances control, U.S Env. Prot. agency recycled Cincinnati, OH 45268.

Zahangir, A; suleyman A., Noraini, K. (2008) ,production of activated carbon from oil palm empty fruit Bunch for Zn removal, Bul.conference proceedings 12th int.water Tech conf. IWTC12 Egypt :373-383.