Comparison Between Different Immunological Techniques for Detection of Circulating Fasciola Antigen In sheep.

Ibrahim Rabia1; Hoda Sabry1 and  Faten Nagy 2

1Parasitology 2Immunology Department,Theodor Bilharz Research Institute,Giza, Egypt.

dr_mona_zaki@yahoo.co.uk

Abstract

The detection of Fasciola antigen in serum or stool could be more valuable in diagnosis, hence early treatment before irreparable damage. In this study, fresh adult Fasciola gigantica worms were collected, then incubation in culture medium and collected medium was used to extract crude excretory-secretory (E/S) antigen. E/S was used to immunize rabbits to raise specific antibodies against Fasciola spp. Purified antibodies are further used as primary capture to coat ELISA plates. The secondary capture of antibodies was by conjugation with horse reddish peroxidase. Sandwich ELISA and DOT-ELISA were performed to detect Fasciola antigens in both serum and stool samples collected from a total of 152 sheep. After slaughtering, gross inspection of liver and parasitological stool examination, sheep were divided into Fasciola positive group (97 sheep), other helminthic infection group (30 sheep) and healthy control group (30 sheep). Fasciola antigen detected in serum of sheep by ELISA showed 94.8 % sensitivity and 95 % specificity. Copro-antigen detected by ELISA showed 96.9% sensitivity and 96.7% specificity. The sensitivity and specificity of coproantigen by ELISA in stool sample were higher than that recorded by Sandwich ELISA for serum.  Dot ELISA sensitivity was found to be 98.9% and specificity 98.3%. In conclusion the Dot ELISA gives better sensitivity and specificity than sandwich ELISA for serum and coproantigen in stool by ELISA.

Key Words :- Sandwich ELISA – Dot-ELISA – Fascioliasis - Coproantigen

Introduction

Fascioliasis is an infection caused by flukes of the class Trematoda, namely Fasciola hepatica and Fasciola gigantica. Human infection can result from the ingestion of encysted metacercariae attached to aquatic vegetation and plants as water-cress (Ragab and Farag, 1978; Hillyer, 1981; Marsden and warren, 1984) or green vegetation as lettuce which is eaten raw (stork et al., 1973).   The illness occur world wide, particularly in regions with intensive sheep and cattle production (Abd- EL-Aziz et al., 2001). The parasitological diagnosis of Fascioliasis is often unreliable because the parasite eggs are not found during the prepatent period (Nour Eldin et al., 2004). Even when the worms have matured, the diagnosis may still be difficult since eggs are only intermittently released. Repeated examinations of stools are usually required to increase the accuracy of the diagnosis. Early diagnosis of Fascioliasis is necessary for institution of prompt treatment before irreparable damage of the liver occurs (Rokni et al., 2004). For these reasons, serology is the most dependable diagnostic method. Attempts have been made to diagnose human Fascioliasis by detecting antibodies in the serum patient suspected of being infected with the flukes (Maleewong et al., 1999). Advances in immuno-diagnosis have focused on detection of parasite antigens in host body fluid; these tests have an advantage over antibody detection because antigenemia implies recent and active infection (Cornelissen et al., 1999). The E/S antigens of Fasciola spp or their partially purified component are the commonest source of antigens used in protection trials and serodiagnosis (Gِnen‏ et al., 2004). Immunodiagnosis of parasitic disease is mainly based on antibody detection (Fagbemi and Obarisiagbon, 1999) and revealed both recent and current infections with early diagnosis. To obtain reliable diagnostic method or to identify crude antigens, many authors prepared antigens from whole worm (Hillyer et al., 1987 & Abdel-Rahman and Abdel-mageed, 2000) or from tegument (Charmy et al., 1997) also Coproantigen (Allan et al., 1996), egg antigen (Khalil et al., 1989 and Abdel-Rahman et al., 2000), and excretory secretory products (Espino and Finlay, 1994 and Ralston and Heath, 1995).  The purpose of the present study is to isolate crude Fasciola antigens from E/S products, and preparation of anti-Fasciola antibodies, then evaluation of sandwich ELISA and Dot ELISA as an immunological assay for detection of Fasciola Copro-antigen and serum antigens in infected sheep, thus presenting an experimental trial that could be of value in providing a tool that may help in immunodiagnosis of human Fascioliasis.

Material and Methods

- Preparation of crude E/S antigens

Adult F. gigantica worms were obtained from the livers of infected sheep at the local abattoir. The worms were washed with sterile saline, and then incubated for 6 hr in RPMI 1640 culture medium (Sigma) according to the method of Maleewong and coworkers (1999). After incubation, the supernatant was collected and clarified by centrifugation at 10.000 rpm for 30 min at 4؛C according to Hillyer (1979). The supernatant containing the E/S products was then concentrated by ultra filtration using Amicon 8400 membrane filter (Grace Co., Danvers, Ma), dialyzed against dist. H2O containing the proteinase inhibitors, and stored at – 40؛C before use.

Preparation of hyper-immune anti-Fasciola serum

New-Zeland white rabbits were injected intramuscular. With 100 µg of crude E/S antigens and then 4 booster doses of antigens were given at weekly intervals. One week after the last booster dose, the rabbits were scarified and the sera were collected

Purification and labeling of polyclonal antibodies

The produced polyclonal antibodies were purified by ammonium sulfate treatment, then by ion exchange chromatography according to Goding (1986). The polyclonal antibodies were labeled by horse-radish peroxidase (Sigma) according to Tijssen and Kurstak (1984).

Identification and Characterization of polyclonal antibodies produced against ES antigen.

For identification and characterization of the chemical nature of polyclonal antibodies, The reactivity of polyclonal antibodies against the antigen before and after treatment with 20 mM sodium periodate and  4% trichloroacetic acid was tested by indirect ELISA according to Woodward et al. (1985).

Parasitological examination

Gross inspection of the liver of sheep after slaughter in abattoir to select Fasciola-infected animals and a number of non – infected sheep were taken as negative controls. Stool and serum samples were collected before slaughtering. Afterwards, samples collected from sheep harboring the fluke in their liver (as found by gross inspection), were considered Fasciola positive and these with normal healthy liver are Fasciola negative. Kato-Katz concentration technique (Martin and Beaver, 1968) and Formal-Ether sedimentation (Mansour-Ghanaei et al., 2003) techniques were performed for all stool samples in order to identify Fasciola eggs or other helminthic ova.

Detection of circulating antigens in sheep sera and stool samples by sandwich ELISA.

After several optimization trials, the following sandwich ELISA originally described by Engvall and Perlmann (1971), was performed. Microtitration plates (Dynatech) were coated with 10 (g/ml of purified polyclonal antibodies in 0.1 M carbonate buffer, pH 9.6 dispensed as 100 (l/well and left overnight at room temperature. Plates were blocked by adding 200ul/well of 3% fetal calf serum/PBS/Tween for 1 hour at 37°C (3% FCS/PBS/T was used as diluting buffer and PBS/T as washing buffer). Undiluted sera or Undiluted Stool elutes were added (100 (l/well) and incubated for 2 hours at 37°C. Plates were washed with washing buffer. One hundred (l/well of 1:1000 dilution of peroxidase-conjugated polyclonal antibody (5µg/ml) were added and incubated for 2 hours at room temperature, and then plates were washed as before. The reaction was visualized by the addition of 100 (l/well of O-phenylene diamine (OPD) substrate solution for 30 minutes in the dark at room temperature. The reaction was stopped by adding 50 (l/well of 8 N H2SO4 and plates were read at 492 nm using ELISA microplate reader (Bio Rad).

- Dot-ELISA (Antigen detection assay)

Dot ELISA was performed according to Boctor et al., (1982) using Bio- Dot apparatus (BIO-RAD) for detection of circulating Fasciola antigen by double antibody sandwich procedures.

- Statistical analysis

Data were expressed as mean ± standard deviation (SD) or number (%). Correlations between different parameters were performed using Spearman’s rank correlation coefficient. SPSS computer program (version 13 windows) was used for data analysis.

Results

Parsitological Examination:-

Fasciola worms were detected in 97 sheep by gross inspection of the liver of sheep after slaughter in abattoir and used as our gold standard in succeeding experiments.

Parasitological examination of sheep stool by Kat-Katz technique for detection and count of Fasciola eggs was performed in total of 152 sheep. Fasciola eggs were detected in 78 sheep (80.62 %) with egg load ranging from 18 – 80 egg/gm stool. Other parasites including schistosomiasis , echinococcosis , anclystomiasis and ascariasis were detected in 30 sheep

Immunological Examination:

A pair of polyclonal antibodies (pAbs), 1F/6G and 2F/4G, were selected from a panel of anti-E/S antigens polyclonal antibodies for the present study. Isotypic analysis of polyclonal antibodies revealed that they were of the IgG1 subclass with a K light chain. The specificity of the selected polyclonal antibodies against different parasite antigens (S. mansoni and Echinococcus  granulosus) was determined by  ELISA. Both polyclonal antibodies were strongly reactive with Fasciola antigen and non reactive with other parasite antigens (Table 1).

Table 1: Reactivity of anti- E/S antigens polyclonal with Fasciola gigantica, S. mansoni SEA, and Echinococcus antigens compared to normal rabbit serum

| Coating antigen | ELISA OD at 492 nm |
| --- | --- |
|  | Normal rabbit serum | pAb 1F/6G | pAb 2F/4G |
| Fasciola gigantic antigen | 0.049 | 1.98 | 2.13 |
| S. mansoni SEA | 0.051 | 0.26 | 0.24 |
| Echinococcus antigen | 0.038 | 0.17 | 0.18 |

Characterization of target antigen recognized by monoclonal antibody

Binding of pAb 1F/6G to E/S antigens coated microtitration plates was strongly inhibited by treatment with 4% trichloroacetic acid (54.5%) and slightly inhibited (9.0%) by 20 mM sodium periodate with denoting that target antigen for MAb 12D/10F was a glycoprotein (Table 2).

Table 2:- Identification and characterization of target monospecific

antibodies produced against E/S antigens.

| Target antibodies | XOD±SE | XOD±SE | % Reduction |
| --- | --- | --- | --- |
|  | Before treatment | After treatment |  |
| Periodate oxidation Trichloroacetic acid treatment | 1.20 ±0.01 1.38 ±0.01 | 1.08 ±0.06 0.642 ±0.06 | 12 % 54.5 % |

Cut off point = 0.207         OD at 492 nm         SE = standard error

# Sensitivity of the selected polyclonal antibodies by capture ELISA

Polyclonal antibodies against E/S antigens 1F/6G and 2F/4G were employed, one for coating and the other one as peroxidase conjugated antibody

in a sandwich ELISA to establish the sensitivity and linearity of the assay, a standard curve using serial dilutions of E/S antigens (0.0025–10µg/ml) in PBS/T buffer was set up. Optical density (OD) readings were plotted against the concentration of the antigen preparations. A lower detection limit of 3 ng E/S antigens /ml was reached (Fig . 1).

Fig. (1): Standard curve to test E/S antigens concentrations (ng/ml) in sandwich ELISA with pAbs 1F/6G and 2F/4G.

# Detection of coproantigens in sheep stool by sandwich ELISA

All stool elutes from negative control sheep had antigen levels below cut–off value. Furthermore, 28 out of 30 stool elutes belonging to group of sheep harboring other parasites had undetectable fasciola antigen. The overall specificity of the assay is 96.7% (58/60). Fasciola antigen was detectable in 94 of 97 stool elutes from infected sheep.The overall sensitivity of the assay is 96.9%. (Table 3).

Table 3:-  Detection of Coproantigens in sheep stool by sandwich ELISA.

| Groups | Positive cases | Negative cases |
| --- | --- | --- |
|  | X (OD) ± SE | No. | % positivity | X (OD) ± SE | No. | % Negativity |
| normalcontrol (N = 30) | - | - | - | 0.350±0.24 | 25 | 100% |
| Infected sheep ( N=97) | 0.450±0.37 | 94 | 96.9% | 0.280±0.29 | 18 | 19% |
| Other parasites(N=30 ) | 0.391±0.32 | 2 | 3.3 % | 0.300±0.40 | 28 | 96.7% |

Cut off point = 0.207         OD at 492 nm         SE = standard error   N : number

Detection of circulating antigens in sheep sera by sandwich ELISA

As depicted in table (4), it was evident that the negative control sera were 100 % negative for circulating fasciola antigens. On the other hand, 27 out of 30 sera belonging to group of sheep harboring other parasites had undetectable fasciola antigen. The overall specificity of the assay is 95 % (57/60). Fasciola antigen was detectable in 92 of 97 sera from infected sheep. The overall sensitivity of the assay is 94.8%.

Table 4 :-Detection of circulating antigens in sheep sera by sandwich

ELISA.

| Groups | Positive cases | Negative cases |
| --- | --- | --- |
|  | X (OD) ± SE | No. | % positivity | X (OD) ± SE | N0 | % Negativity |
| Healthycontrol (N=30) | - | - | - | 0.361±0.39 | 30 | 100% |
| Infected sheep ( N=97) | 0.876±0.31 | 92 | 94.8% | 0.307±0.29 | 5 | 5.2% |
| Other parasites(N=30 ) | 0.411±0.22 | 3 | 5 % | 0.294±0.37 | 24 | 95 % |

Cut off point = 0.207         OD at 492 nm         SE = standard error   N : number

Detection of circulating antigens in sheep sera by Dot- ELISA

Using Dot-ELISA the sera from negative control sheep were completely negative. On the other hand, 29 out of 30 sera belonging to group of sheep harboring other parasites had undetectable fasciola antigen. The overall specificity of the assay was 98.3 % (59/60). Fasciola antigen was detectable in 96 of 97 sera from infected sheep. The overall sensitivity of the assay is 98.9%. (Table 5)

Table 5 :- Sensitivity and specificity of different techniques for detection

of circulating antigen.

|  | Sandwich ELISA in sera | Sandwich ELISA in stool | DOT-ELISA |
| --- | --- | --- | --- |

| % Sensitivity | 94.8 | 96.7 | 98.9 % |
| --- | --- | --- | --- |
| % Specificity | 95% | 96.6 | 98.3 % |

Discussion

Several studies have reported the purification of the immunodominant antigens from the E/S products of liver flukes for immunodiagnosis of Fascioliasis. A recent study Rokni et al. (2004) compared the diagnostic potential of crude somatic antigen and E/S antigen using enzyme linked immunotransfer blot (EITB) technique. The sensitivity and specificity values for somatic antigens were 91.0% and 96.2% respectively, as for E/S antigen this parameter were 95.2% and 98.0% respectively. On the other hand, Shaker et al. (1994) found that ELISA was 100 % sensitive and 93 % specific for detecting circulating Fasciola antibodies using purified somatic antigen. But, Rodriguez-Perez and Hiller (1995) determined that ES antigens were more specific than somatic and surface antigens for serodiagnosis of Fascioliasis in sheep. Another study Yamasaki et al. (1989), demonstrated high sensitivity and specificity in an ELISA for immunoglobulin detection using E/S antigens of Fasciola, showing only a single case of cross-reactivity with sera from Schistosomiasis japonicum infected subjects Maleewong et al. (1999), showed that 25.9 % of sera from patients with cholangiocarcinoma showed cross-reactivity with Fasciola antigen, they added that this could be due to subclinical Fasciola infection, since in Thailand people habitually consume raw aquatic plants that harbor metacercariae. In this work, crude E/S antigen was used to prepare specific antibody, the later was used in sandwich ELISA to detect circulating Fasciola antigens. It is thought that these tests have an advantage over antibody detection in that antigenemia implies recent and active with more sensitive criteria (Deplazes et al., 1991). In this study, there was cross reactivity showing with sera of tow sheep infected with Schistosomiasis, one with hydated cyst, one with Trichostrongyloides and one with hook worm infection. Our results showed 82.47 % sensitivity and 90.9 % specificity in sandwich ELISA for Fascioliasis in naturally infected sheep. The somewhat low sensitivity may be due to the preparation of crude E/S antigen. Further purification of E/S antigen is needed to produce specific antigen; the continuous-elution SDS-PAGE would be recommended (Maleewong et al., 1999). In addition the antigen should be purified from cross reacting antigenic part by immunoaffinity purification method using cyanogen bromide activated sephorose 4B coupled to rabbit antisera raised against other helminthic antigens particularly Schistosomiasis (Gottstein, 1983). Antigen detection assays may facilitate earlier diagnosis than antibody tests; hence the detection of Copro-antigen has the advantage of diagnosing Fascioliasis in stool even before egg detection in stool samples (Youssef et al., 1991). Also production of detectable levels of Immunoglobulin needs time. An immunodiagnostic sandwich ELISA assay was performed for the detection of F. hepatica antigens in stool samples of experimentally infected animals. Using affinity-purified polyclonal antibodies rose against crude somatic antigen. The test showed 83.3% sensitivity and 80 % specificity, and antigens were detected as early as 4 weeks post infection (Moustafa et al., 1998). In our work sandwich ELISA showed 81.44 % sensitivity and 91.78 % specificity, in stool of naturally infected sheep. Specificity in our study was higher than that of the above mentioned work (Moustafa et al., 1998), probably because the antigen prepared from E/S products of adult flukes yield more immunodominant antigen than somatic antigen (Rodringuez-Perez and Hillyer, 1995). Higher sensitivity (100%) and specificity (95%) of ELISA were observed by Darwish and EL-Gammal (1995), for detection of Fasciola Copro-antigen in human cases in comparison to results obtained in this study. This may be due to variability of parasite species collected from the abattoir for this work, and the fact that human beings had many factors which may cause Cross-reactions. It could be concluded that sandwich ELISA rapid, easy and sensitive for diagnosis of Fascioliasis. It would be more valuable to apply this test in screening for Fascioliasis, being a non- invasive procedure, also detecting Copro-antigen by ELISA suggests recent and active Fasciola infection but still more purification is needed to overcome cross-reactivity and improvement of diagnosis.

References

Abd EL-Aziz MM, Ghazy AA and Effa MM (2001): Immunodiagnosis of bovine Fascioliasis using Fasciola hepatica excretory secretory antigens ELISA. J. Egypt. Soc. Parasitol. 31: 327-334.

Abdel-Rahman, E.H.and Abdel. Mageed, K.N (2000): Molecular identity of major cross-reactive adult antigens in Fasciola gigantica, toxocara vitulorum and Moniezia expansa. J. Egypt. Soc. Parasitol., 30:561 – 571.

Allan J.C., Valasquez-Tohom, Torres-Alvarez, R.; Yarrita, P. and Garcia-Noval, J. (1996): Filed trial of the Coproantigen – based diagnosis of Tanea solium taeniaisis by enzyme – linked immunosorbent assay. Am.J.Trop.Med.Hyg. 54:352-356.

Allan JC and Craig PS (1989): Copro- antigens in gut tapeworm infection; Hymenolepis diminuta in rats. Parasitol. Research 76: 68 -73.

Boctor, F. N.; Cheever, A. W. and Higashi, G.I. (1982). Schistosoma mansoni: Fractionation of polysaccharide egg antigens by lectin affinity chromatography. Immunol. 46: 237-245.

Charmy, R.A; El-Kashef, H.S; ElGhorab, N.M and Gad, H.S.M. (1979): Identification of surface tegumental antigens of Norman and irradiated schistosomula. J.Egypt .Soc. Parasitol., 27:479 – 491.

Cornelissen JBWJ, Gaasenbeek CPH, Boersma W, Borgsteede FHM and Van Milligen FJ. (1999): use of pre-selected epitope cathepsin –L1 in a highly specific peptide-based immunoassay for the diagnosis of Fasciola hepatica infection in cattle. Int. J. Parasitol. 29: 685 - 696.

Darwish RA and El-Gammal NE (1995): Diagnosis of human Fascioliasis by ELISA Copro-antigen detection. Zag. Med. J. 8: 97-106.

Deplazes P, Eckert J, Machowska L and Goltstein B (1991): An enzyme-linked immunosorbent assay for diagnostic detection of Taenia saginata Copro-antigens in human. Trans. Roy. Soc.Trop. Med. Hyg. 85: 391-369.

Galen RS (1980): Predictive value of laboratory testing. Pediatr. Clin.

North Am. 27: 861 - 869.

Gِnen‏ B, Sarimehmetoًlu HO, Koro M and Kiracali F (2004): Comparison of crude and excretory/secretory antigens for the diagnosis of Fasciola hepatica in sheep by western blotting. Turk. J. Vet. Anim. Sci. 28: 943-949.

Gottstein B. (1983): Isolation of an antigen fraction from Echinococcus multilocularis with high species specificity and its identification with the western blotting technique. In: Immunoenzymatic techniques. S. Avrameas; P. Druet; R. Masseyeff and G. Feldman, eds. Elsevier, Amsterdam . p 299-302.

Khalil, H.M.; Makled, M.KH; El-Missiry, A.G.; Khalil, N.M. and Sonobol, S.E. (1989): The application of S. mansoni adult and soluble egg antigens for serodiagnosis of schistomiasis by CIEB, IHA and ELISA. J.Egypt .Soc. Parasitol ., 19:872 – 843.

Hillyer GV (1979): Use of immunologic techniques to detect chemothera- peutic success in infection with Fasciola hepatica. Parasitology 65: 960-963.

Maleewong W, Wongkhan C, Intapan PM and Pipitgool V. (1999): Fasciola gigantica specific antigens: purification by a continuous-elusion method and its evaluation for the diagnosis of human Fascioliasis. Am. J. Trop. Med. Hyg. 61: 648 - 651.

Mansour-Ghanaei F, Shafaghi A and Follah MS. (2003): The effect of metronidazole in treating human Fascioliasis. Med. Sci. Monit. 9: 127-130.

Martin LK and Beaver PC (1968): Evaluation of Kato thick smears technique for quantitative diagnosis of helminthic infection. Am. J. Trop. Med. Hyg. 17: 382-391.

Moustafa NE, Hegab MH and Hassan MM (1998): Role of ELISA in early detection of Fasciola Copro-antigen in experimentally infected animals. J. Egypt. Soc. Parasitol. 28: 379-389.

Noureldin MS, EL- Ganaini GA, Abou EL- Enin AM, Hussein EM and Sultan DM. (2004): Evaluation of seven assays detecting serum immunoglobulin classes and subclasses and salivary and faecal secretory IgG against Fasciola excretory/secretory (ES) antigen in diagnosing Fascioliasis. J. Egypt. Soc. Parasitol. 34: 691-704.

Rodriguez-Perez J and Hillyer GV (1995): Detection of excretory- secretory circulating antigens in sheep infected with Fasciola hepatica and with Schistosoma mansoni and F. hepatica. Vet. Parasitol. 56:57-66.

Rokni, MB, Baghernejad A, Mohebali M and Kia EB (2004): Enzyme linked immunotransfer blot analysis of somatic and excretory-secretory antigens of Fasciola hepatica in diagnosis of human Fascioliasis.

Iranian J. Pub. Health 33: 8-13.

Shaker ZA, Demerdash ZA, Mansour WA , Hassanein    HI, El-Baz HG and El-Gindy HI. (1994): Evaluation of specific Fasciola antigen in the immunodiagnosis of human Fascioliasis in Egypt . J. Egypt Soc. Parasitol. 33: 119-123

Yamasaki H, Aoki T and Oya H (1989): A cystein proteinase from the liver fluke Fasciola spp: purification, characterization, localization and application to immunodiagnosis. Japan. J. Parasitol. 38: 373 – 384.

Youssef FG, Mansour NS and Aziz AG (1991): Early diagnosis of human Fascioliasis by the detection of Copro-antigens using counter-immunoelectrophresis. Trans. R. Soc. Trop. Med. Hyg. 85: 383-384.