Evaluation of metal pollution in medicinal plants.

Ismat naeem, Abida Taskeen*, Nadia Arif and Hifsa Mubeen

Lahore College for Women University, Lahore

Jail Road Lahore, Pakistan.

Tel: 92-42-9203801-9/245

Email: paristan12@yahoo.com

Abstract: In this study following plants were used: Withinia Coagulas, Sarcococca Saligna, Cronopus Didymus, Senecio Chrysanthamoides, Aerva javanica, Vinca major, Salvadora (yellow), Impatiens walleriana, Pteris vittata, Calotropis procera, Eicohhornia crassipes, Pinus walliachiana. All these plants have different medicinal properties. 10 metals used in study were Magnesium, Potassium, Chromium,Copper, Nickel, Iron, Arsenic, Cobalt, Lead and Cadmium. It was concluded from the study that lead was present in highest amount among all these plats and it could be dangerous. Of all plants Pinus walliachiana contained highest amount of lead 450.60 ppb. Other metals were also present but their concentration was less as compared to lead. [Researcher. 2009;1(4):42-49]. (ISSN: 1553-9865).

INTRODUCTION

During the past decades, spice and medicinal plants gained a more important role in agronomy production, pharmacy, and exportation because of their increased use as a raw material for the pharmaceutical industry and pharmaceutical preparations and in the everyday life of the general population. In recent years the cultivation of medicinal and aromatic plants has been achieved with increasing interest in Egypt. The interest in our country for these plants is much greater because of the possibility of exportation. From plant nutrition studies, it is known that plants require a certain amount of trace elements that they respond differently to an enhanced or lowered trace element supply, and that, in some cases, agricultural products may be contaminated with toxic heavy metals (Krug, 1986).

There are two major reasons (De Smet, 1992) to monitor levels of toxic metals in medicinal plants. The first reason, contamination of the general environment with toxic metals, has increased (Ali, 1983). The sources of this environmental pollution are quite varied, ranging from industrial and traffic emissions to the use of purification mud and agricultural expedients, such as cadmium-containing dung, organic mercury fungicides, and the insecticide lead arsenate (Schilcher, 1983; Gosselin et al., 1984; Schilcher et al., 1987). The second reason, exotic herbal remedies, particularly those of Asian origin, have been repeatedly reported to contain toxic levels of heavy metals and/or arsenic.

Several investigators have performed several studies on the residual levels of toxic metals in medicinal herbs (Schilcher, 1982; Ali, 1983, 1987; Peters and Schilcher, 1986; Schilcher et al., 1987). Most studies on residual levels of toxic metals in medicinal herbs have focused on lead, cadmium, and mercury (Schilcher, 1985; Ali, 1987; Schilcher et al., 1987).

The accumulation of heavy metals in some desert plants may open anew perspective for application of these species as 'accumulators' of heavy metals to clean-up contaminated soils in arid environments.

Experimental Procedures

Sample preparation and analysis:

The samples were dried to constant weight.1g sample was digested with 20mL of HNO3 /HCl (Anal grade), and heated until evolution of white fumes. Where necessary more acid mixture was added and the sample digested until evolution of white fumes marking the end of the digestion process. The digests were filtered into standard 50mL volumetric flask and made up to mark with distilled water. This was subsequently analyzed for Pb, Cd, Cu, Cr, Co and Fe by air-acetylene flame atomic absorption spectrometry with Graphite Furnace (Hitachi Z – 3000) by the standard calibration technique.

Standard Preparation:

Calibration standards were prepared by dilution of the high purity commercial metal standards (Merck) for atomic absorption analysis.

Quality control and Quality Assurance:

Hitachi A-3000 Atomic Absorption Spectrophotometer (graphite furnace) was used for analysis of arsenic. Known standards were used to calibrate the instrument and to keep a good quality control, our goal was to obtain a correlation coefficient value of as close to 1.0 as possible.  Adequate quality assurance measures were carried out to ensure reliability of results. Glassware was properly cleaned and reagents (HNO3, HClO4 and distilled water) were of analytical grade. Spikes and blanks were also introduced. Results reported are average of duplicates.

Results

Table 1. Metal ion concentration in Withinia Coagulas

Sr.No Name of metal ion Symbol Concentration (ppm) Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.20±0.2ppm 2 Potassium K 4.64±0.1ppm 3 Chromium Cr 0.00±0.3ppm 4 Copper Cu 0.15±0.3ppm 5 Nickel Ni 0.11±0.2ppm 6 Iron Fe 3.25±0.7ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 207.25±0.1ppb 8 Copper Cu 0.92±0.2ppb 9 Cobalt Co 3.69±0.1ppb 10 Arsenic As 2.03±0.4ppb

Table 2. Metal ion concentrations in Sarcococca Saligna

No. of metal ions Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.18±0.2ppm 2 Potassium K 0.17±0.3ppm 3 Chromium Cr 0.29±1.2ppm 4 Copper Cu 0.57±0.1ppm 5 Nickel Ni 0.12±0.1ppm 6 Iron Fe 6.72±0.3ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 77.56± 0.3ppb 8 Cadmium Cd 2.05±0.1ppb 9 Cobalt Co 4.78±0.3ppb 10 Arsenic As 4.83±0.1ppb

Table 3. Metal ion concentrations in Cronopus Didymus.

Sr.No Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.11±0.3ppm 2 Potassium K 11.2*20±0.2ppm 3 Chromium Cr 0.00 ppm 4 Copper Cu 0.94 ± 0.3ppm 5 Nickel Ni 0.08±0.02ppm 6 Iron Fe 11.09± 0.2ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 183.87 ±0.1ppb 8 Cadmium Cd 3.33±0.3ppb 9 Cobalt Co 5.07±1.0ppb 10 Arsenic As 1.10±0.2ppb

Table 4. Metal ion concentration in Senecio Chrysanthamoides. Sr.No Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 1.69±0.4ppm 2 Potassium K 8.83*20±0.6ppm 3 Chromium Cr 0.36±0.4ppm 4 Copper Cu 0.31±0.6ppm 5 Nickel Ni 0.1±0.5ppm 6 Iron Fe 17.89±0.3ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 240.06±0.1ppb 8 Cadmium Cd 2.85±0.4ppb 9 Cobalt Co 21.86±0.7ppb 10 Arsenic As 2.30±0.3ppb

Table 5. Metal ion concentrations in Aerva javanica.

No. of metal ions Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.18±0.1ppm 2 Potassium K 11.93*20±0.4ppm 3 Chromium Cr 0.38±0.5ppm 4 Copper Cu 0.07±0.4ppm 5 Nickel Ni 0.19±0.2ppm 6 Iron Fe 8.84±0.1ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 156.60±0.1ppb 8 Cadmium Cd 1.54±0.4ppb 9 Cobalt Co 6.40±0.3ppb 10 Arsenic As 0.15±0.4ppb

Table 6. Metal ion concentrations in Vinca major.

Sr.No Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.80±0.2ppm 2 Potassium K 3.12*20±0.3ppm 3 Chromium Cr 0.05±0.3ppm 4 Copper Cu 0.08±0.5ppm 5 Nickel Ni 0.12±0.4ppm 6 Iron Fe 3.43±0.1ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 132.08±0.3ppb 8 Cadmium Cd 1.73±0.5ppb 9 Cobalt Co 7.94±0.4ppb 10 Arsenic As 0.16±0.3ppb

Table 7. Metal ion concentrations in Salvadora (yellow)

No. of metal ions Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.16±0.3ppm 2 Potassium K 3.12±0.3ppm 3 Chromium Cr 0.19±0.3ppm 4 Copper Cu 0.26±0.4ppm 5 Nickel Ni 0.14±0.7ppm 6 Iron Fe 2.20±0.5ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 132.08±0.2ppb 8 Cadmium Cd 2.62±0.4ppb 9 Cobalt Co 3.30±0.5ppb 10 Arsenic As 1.25±0.7ppb

Table 8. Metal ion concentrations in Impatiens walleriana

Sr.No Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 1.69± 0.2ppm 2 Potassium K 8.83±0.3ppm 3 Chromium Cr 0.36±0.1ppm 4 Copper Cu 0.31±0.2ppm 5 Nickel Ni 0.1±0.3ppm 6 Iron Fe 17.89±0.1ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 237.97±0.2ppb 8 Cadmium Cd 2.29±0.3ppb 9 Cobalt Co 17.49±0.3ppb 10 Arsenic As 1.35±0.4ppb

Table 9. Metal ion concentrations in Pteris vittata

Sr.No Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.19±0.3ppm 2 Potassium K 15.6*20±0.3ppm 3 Chromium Cr 0.32±0.5ppm 4 Copper Cu 0.29±0.7ppm 5 Nickel Ni 0.08±0.3ppm 6 Iron Fe 14.22±0.1ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 152.52±0.3ppb 8 Cadmium Cd 3.09±0.4ppb 9 Cobalt Co 8.03±0.2ppb 10 Arsenic As 3.56±0.4ppb

Table 10. Metal ion concentrations in Calotropis procera

Sr.No Name of metal ion Symbol Concentration Concentration in ariel parts in roots Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 1.58*20±0.4ppm 1.68*20±0.6ppm 2 Potassium K 50±0.3ppm 3.83±0.3ppm 3 Chromium Cr 0.36±0.2ppm 0.02±0.5ppm 4 Copper Cu 0.320.5ppm 0.36±0.4ppm 5 Nickel Ni 0.1±0.5ppm 0.06±0.3ppm 6 Iron Fe 14.18±0.6ppm 4.26±0.1ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 175.930.1ppb 103.31±0.2pb 8 Copper Cu 1.23±0.6ppb 2.57±0.5ppb 9 Cobalt Co 17.580.7ppb 3.44±0.5ppb 10 Arsenic As 0.150.1ppb 8.04±0.2ppb

Table 11. Metal ion concentrations in Eicohhornia crassipes.

Sr.No Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.18±0.5ppm 2 Potassium K 11.93*20± 0.1ppm 3 Chromium Cr 0.38±0.3ppm 4 Copper Cu 0.07±0.4ppm 5 Nickel Ni 0.19±0.3ppm 6 Iron Fe 8.84±0.6ppm Metals analysed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 156.60±0.5ppb 8 Cadmium Cd 1.98±0.3ppb 9 Cobalt Co 6.40±0.1ppb 10 Arsenic As 0.15±0.3ppb

Table 12. Metal ion concentrations in Pinus walliachiana

No. of metals Name of metal ion Symbol Concentration Metals analyzed by Flame Atomic Absorption Spectroscopy 1 Magnesium Mg 0.90±0.2ppm 2 Potassium K 25.37±0.2ppm 3 Chromium Cr 0.00 4 Copper Cu 0.09±0.1ppm 5 Nickel Ni 0.13±0.3ppm 6 Iron Fe 4.25±0.1ppm Metals analyzed by Graphite Furnace Atomic Absorption Spectroscopy 7 Lead Pb 450.60±0.1ppb 8 Cadmium Cd 25.37 ±0.2ppb 9 Cobalt Co 15.41±0.2ppb 10 Arsenic As 2.40±01ppb

Discussion:

In this study following plants were used: Withinia Coagulas, Sarcococca Saligna, Cronopus Didymus, Senecio Chrysanthamoides, Aerva javanica, Vinca major, Salvadora (yellow), Impatiens walleriana, Pteris vittata, Calotropis procera, Eicohhornia crassipes, Pinus walliachiana. 10 metals used in study were Magnesium, Potassium, Chromium,Copper, Nickel, Iron, Arsenic, Cobalt, Lead and Cadmium.

All these plants have different medicinal properties. In all these plants lead was present in very high concentration which is dangerous.

In Sarcococca Saligna and Withinia Coagulas only lead was present in slightly high concentration as compared to other metals. However its concentration as compared to other plants was very low.[Table:1,2]. In Withinia Coagulas chromium was not present. However potassium was high.[Table:2]. Cronopus Didymus also contained a high concentration of lead and potassium only.[Table:3].In Senecio Chrysanthamoides lead, cobalt, potassium and iron were detected at high levels.[Table:4]. Aerva javanica potassium, iron and lead were in high amounts [Table:5]. Impatiens walleriana, Salvadora (yellow) contained  lead in high concentration.[Table:7,8]In Calotropis procera  magnesium and lead were in high range while other metals were only present in normal amounts[Table:10]

In Eicohhornia crassipes, Vinca major and Pteris vittata potassium and lead were present in high concentration. Other metals were in very low amounts.[Table:6,9,11]. In Pinus walliachiana a very high amount of lead was present. Other metals were normal in concentration. [Table: 12]. Pnus has been reported as a source of for many natural products.

Of all plants Pinus walliachiana contained highest amount of lead 450.60 ppb.[Table:12].

Conclusion:

Before using these medicinal plants for remedies of different diseases their metal content should be kept in mind. This is important because otherwise metals may affect us with their harmful effects.

Acknowledgment:

I want to acknowledge Sir Talib Mehmood, Instrument engineer Central Research Laboratories Lahore College for Women University Lahore, for his cooperation during this research.

Refferences

- Ali, S L  Bestimmung der pestiziden Rückstände und anderer bedenklicher veruntreinigungen-wie toxische Metallspurenin Arzneipflanzen  2-Mitteilung  Bestimmung von toxischen Metallspuren in Arzneidrogen  Pharm  Ind  1983, 45, 1294−1295.

- De Smet, P  A  G  M  Adverse Effects of Herbal Drugs; Springer-Verlag   Berlin, 1992; ISBN 3-540-53100-9.

- Gosselin  R  E, Smith, R  P,  Hodge  H  C,  Braddock  J  E  Clinical Toxicology of Commerical Products, 5th ed ; Williams and Wilkins   Baltimore, MD, 1984.

- Krug, H  Gemüseproduktion Paul Parey 1986 (cited from Chizzola, R  Metallic trace elements in herbs and spices grown in Austria  Acta Hortic  1989, 249).

- Peters  H,  Schilcher  H,  Schwermetallbelastung von Arzneidrogen und deren Zuberei-tungen  Planta Med  1986, 521−522.

- Schilcher  H, Rückstände und Veruntreinigungen bei Drogen und Drogenzubereitungen  19  Mitteilung:  Zur Wertbestimmung und Qualitätsprüfung von Drogen  Planta Me . 1982, 44, 65−77.

- Schilcher  H, Contamination of natural products with pesticides and heavy metals  In Topics in Pharmaceutical Sciences 1983; Breimer  D,  D  Speiser  P  Eds   Elsevier Science Publishers   Amsterdam, The Netherlands, 1983  pp 417−423.

- Schilcher H, Rüchstandsanalytik bei Drogen und Drogenzubereitungen. Fresenius' Z  Aanl  Che . 1985, 321, 342−351.

- Schilcher  H, Peters H, Wank  H, Pestizide und Schwermetalle in Arzneipflanzen und Arzneipflanzen-zubereitungen  Pharm  Ind  1987, 49, 203−211.

4/12/2009