**Coagulation Kinetics for bakery wastewater treatment using *Vigna Subterranea* husk as coagulant**

Ejikeme, Ebere M., Ejikeme, P. C.N., Offia Kingsley

Department of Chemical Engineering, Enugu State University of Science and Technology, Enugu.

[ebemoca@yahoo.com](mailto:ebemoca@yahoo.com), 08035495912

**Abstract**: This work studied the coagulation kinetics for bakery wastewater treatment using *Vigna Subterranea* husk as coagulant. The coagulation study was done using the jar test method based on standard bench scale Nephlometric method for the examination of water and wastewater. The kinetic data was fitted to first and second order models. It was observed that kinetic data fitted well to second order model at all p H and lower concentrations due to high correlation coefficient. p H of 6 recorded higher correlation coefficients for all the concentrations studied for the two models which show that pH of 6 is the best pH for the coagulation study. It can be concluded that the theory of perikinetics is the controlling mechanism of the coagulation owing to the high correlation coefficients (>0.9) recorded at different pH. There was complete removal of lead and nitrate after coagulation, while chemical oxygen demand and biological oxygen demand were reduced. There was 40.8% increase on the dissolved oxygen after coagulation.

[Ejikeme, Ebere M., Ejikeme, P. C.N., Offia Kingsley. **Coagulation Kinetics for bakery wastewater treatment using *Vigna Subterranea* husk as coagulant.** *Researcher* 2020;12(7):33-38]. ISSN 1553-9865 (print); ISSN 2163-8950 (online). <http://www.sciencepub.net/researcher>. 7. doi:[10.7537/marsrsj120720.07](http://www.dx.doi.org/10.7537/marsrsj120720.07).

**Keywords:** Bakery wastewater, Bambara nut husk, Coagulation, First order model, Second order model

**1. Introduction**

Coagulation plays a prominent role in water and waste water treatment processes. Understanding of this process is necessary because of numerous factors inherent in the process that affect it.

Coagulation is the process of destabilizing colloids, aggregating them and binding them together for ease of sedimentation (AL-Sameraiy 2017). This is achieved by adding simple salts or by charge neutralization resulting in a tendency in the aggregates to be small and dense (Al-Sameraiy 2017). In the area of water and wastewater treatment, coagulation refers to destabilization by the dosing of appropriate additives and flocculation refers to the formation of aggregates usually by some form of fluid motion (Gregory 2006).

The phenomenon of coagulation of colloidal system is similar in many ways to chemical reaction, proceeding at a definite rate dependent on temperature and concentration (Brandy et al 1952). Frequently, however, it is a diffusion controlled process to which the standard kinetics methods based on equilibrium between reactant, activated complex and products cannot be applied. It is only when the probability of coalescence of the particles taking part in a collision is reduced that is when the particles are relatively stable, that an equilibrium state can be postulated.

During coagulation-flocculation, both floc particles size and structure undergo transitional phases. Initially, upon coagulation dosing, there is a period of rapid floc growth in which the size and structure of the floc aggregates are dynamic in nature (Ramphal and Sibiya 2014). This is followed by a steady-state region or equilibrium between particle growth and fragmentation for specific period, during which the floc particle size does not change. The shape of the particle size distribution curve is critical as it influences coagulation-flocculation kinetics, the rate of floc growth, floc characteristics and solid removal processes (Selomulya et al 2001; Spicer et al 1996).

Many coagulants have been used in treating wastewater, but little attention has been given to plant wastes. This necessitated the study on bambara nut husk (Vigna Subterranea) as a coagulant. This work studied the coagulation kinetics of bakery waste water using bambara nut husk as coagulant.

**2. Materials and methods**

**Collection of wastewater**

The bakery wastewater was collected from Deking bakery at Abakpa Nike Enugu, Enugu State Nigeria.

**Characterisation of Wastewater**

The characterization of wastewater before and after coagulation was done according to standard method (APHA, 1998).

**Jar test method**

The jar test method was conducted based on standard bench scale Nephelometric method for the examination of water and wastewater using turbidimeter, magnetic stirrer and pH meter.

**Preparation of bambaranut husk as a coagulant**

The seed shell was collected from abakpa market in Enugu as a waste generated after grinding and sieving the seed. It was washed and dried to constant weight. The dried husk was ground to 600μm and then processed for further study.

**Coagulation kinetics**

The time evolution of the cluster size distribution for colloidal particles can be described by the equation 3.1(Swift and Friedlander (1964); Jin 2005)

=



Where is the rate of change of concentration of particle of size K (concentration / time), is the time independent number concentration of n-fold cluster, t is the time, are the elements of rate kernel which control the rate of the coagulation between an i-fold and j-fold cluster.



β is a function of the coag-flocculation transport mechanism. In the Smoluchowski analysis, the coagulation process is approximated to be controlled by Brownian motion and monodispersed suspension (Babayemi et al. 2013). So the analysis attempts to interpret the kinetics of rapid coagulation on the basis of diffusion (Brownian) motion which is best studied during the early parts of the coagulation process (t ≤ 30mins) (Holthof et al. 1996; WST, 2005).

The appropriate value of β for Brownish transport is given by (Smoluchowski 1917):



Where KB is Boltzmann’s constant (J/K)

T is absolute temperature (K)

The rate of depletion of particle count (Turbidity removal) can generally be expressed as:



Where Nt is total particle concentration at time t, Nt = 𝓔nk (mass volume)

K is the αth order coag-flocculation constant.

α is the order of coag-flocculation process and



Where is collision factor for Brownian transport.



Also



Combining equation 3.3, 3.4 and 3.5

Produces



Where KR is the Smoluchowski rate constant for rapid coagulation.

However,



Where D is particle diffusion coefficient

a is particle radius

From Einstein’s equation,



From Strokes equation,



Where β is the friction factor.

η is the viscosity of the fluid.

Combining equation 3.7 to 3.11 gives



Comparing equation 3.3 and 3.12 shows that



For perikinetic aggregation, α theoretically equals 2 as would be shown below (Fridkhsberg 1984).

From Fick’s Law,



Integrating equation 3.14 at initial conditions,



Therefore,



For central particle of same size undergoing Brownian motion, the initial rate of rapid coagulation is



Hence, from equation 3.20,



However, in real practice, empirical evidence shows that in general,

(WST, 2005). Based on this, what is required to evaluate K is to determine the line of better fit between while the experimental data are fitted into a linearised form of equation 3.3.



Hence for equivalent of equation 3.3 yields



Integrating within the limits produce,



Hence, in



Plot of ln (1/N) vs.t gives a slope of K and intercept of (-lnNo)

For equivalent equation 3.3 gives;



Hence



A plot of Vs t produce a slope of K and intercept of



For the equation of coagulation period (τ), from equation 3.26,

(3.27)



(3.28)



Where



Hence, When



This quantity is called the coagulation period which is the time during which the initial concentration of particle is halved.

Therefore, as



Hence,

for 2nd order (3.31)



The result obtained for turbidity of sample in NTU were multiplied by a factor of 2.20 for conversion to TSS concentration (mg/l) (Ozacar and Sengli 2000)

**3. Results and Discussions**

Characterisation of the bakery wastewater are shown on table 1 and have been discussed extensively on our previous work (Ejikeme 2018).

Table 1. Characterisation of bakery wastewater before and after treatment

|  |  |  |  |
| --- | --- | --- | --- |
| Parameters | Unit | Untreated Bakery wastewater | Treated bakery wastewater |
| Alkalinity | mg/l | Nil | 150 |
| Acidity | mg/l | 1500 | 150 |
| Hardness | mg/l | 200 | 24 |
| Chloride | mg/l | 1420 | 184 |
| COD | mg/l | 266 | 196 |
| BOD | mg/l | 44.43 | 15.1 |
| DO | mg/l | 22.5 | 55.1 |
| Total suspended solid | mg/l | 9500 | 1100 |
| Total dissolved solid | mg/l | 2350 | 700 |
| Total solid | mg/l | 11850 | 1800 |
| Conductivity | mg/l | 1010 | 280 |
| Temperature | oC | 28.0 | 29.0 |
| Lead | mg/l | 0.0107 | Nil |
| Copper | mg/l | 18.481 | 0.9238 |
| Iron | mg/l | 0.3789 | 0.01047 |
| pH | mg/l | 5.6 | 7.0 |
| Phosphorus | mg/l | 0.3484 | 0.01047 |
| Magnessuim/calcium | mg/l | 100.928 | 20.1856 |
| Sulphate | mg/l | 418.46 | 92.6 |
| Turbidity | mg/l | 563.3 | 5.6 |
| Nitrate | mg/l | 6.2 | Nil |

The kinetic results of total suspended solid removal from bakery effluent at various pH and coagulant concentration is presented on table 2. The parameters contained on the tables were determined from the plot of first order and second order equation. The value of R2 being greater than 0.900 for almost all the conditions confirmed the theory of perikinetic as the controlling mechanism of coagulation under study (Menkiti, 2000). First and second order equations were tested and it was observed that the data fitted well to second order for all the pH values studied at lower coagulant concentration of 400mgl, though higher R2 was recorded at 600mg/l but for pH of 6 only. The significance of this is that the optimum pH is 6 and it is fitted well to second order. For the cases were the kinetics followed first order, it can be attributed to a shift from theoretical expectation but in line with empirical evidence (WST, 2005).

High values of the collision factor for Brownian Transport (BBR) which directly relates to collision efficiency results in higher kinetic energy to overcome the zeta potential. The implication is that the double layer is either reduced or the colloids destabilized to actualize low τ½ in favour of coagulation rate (Menkiti et al, 2010). The result shows that high value of τ½ corresponds to low K and BBR, an indication of repulsion in the system.

The discrepancies recorded in the order of the reactions, K, No, and -r can be explained by the unattainable assumption that mixing of particles and coagulants throughout the dispersion is 100% efficient before aggregation occurs. The effects of these limitations will be local increase in particle ratios during the mixing phase given uneven dispersion of particles/coagulants complexes. These complexes make it impossible for all to be second order (Yates, et al, 2001).

The values of K obtained from the linearized equations were used to formulate the rate equation for the total suspended solid removal from the bakery wastewater. The highest value of K was obtained at pH 6.

Table 2. Kinetic data for 1st order

|  |  |  |  |
| --- | --- | --- | --- |
| **Parameter** | **pH2** | **pH4** | **pH6** |
| **400mg/l** | | | |
| R2 | 0.917 | 0.8931 | 0.8575 |
| K | 0.0146 | 0.0203 | 0.0259 |
| βBR | 0.0292 | 0.0406 | 0.0518 |
| 1/2(sec) | 47.5 | 34.1 | 26.8 |
| No | 165.5 | 154.18 | 98.2 |
| -r | 0.0146C | 0.0203C | 0.0259C |
| **600mg/l** | | | |
| R2 | 0.9211 | 0.9533 | 0.9575 |
| K | 0.0785 | 0.0229 | 0.0489 |
| βBR | 0.037 | 0.0458 | 0.0978 |
| 1/2(sec) | 37.5 | 30.2 | 14.2 |
| No | 155.6 | 137.2 | 84.5 |
| -r | 0.0785C | 0.0229C | 0.0489C |
| **800mg/l** | | | |
| R2 | 0.9437 | 0.9734 | 0.9805 |
| K | 0.0244 | 0.0252 | 0.0401 |
| βBR | 0.0488 | 0.0504 | 0.0802 |
| 1/2(sec) | 28.4 | 27.5 | 17.3 |
| No | 157.5 | 127.8 | 82.9 |
| -r | 0.0244C | 0.0252C | 0.0401C |

4.3. Kinetic data for 2nd order

|  |  |  |  |
| --- | --- | --- | --- |
| **Parameter** | **pH2** | **pH4** | **pH6** |
| **400mg/l** | | | |
| R2 | 0.9343 | 0.9135 | 0.9843 |
| K | 0.0002 | 0.0002 | 0.0005 |
| βBR | 0.0004 | 0.0004 | 0.0010 |
| 1/2(sec) | 50 | 58.0 | 29.2 |
| No | 200 | 172.4 | 137.0 |
| -r | 0.0002C2 | 0.0002C2 | 0.0005C2 |
| **600mg/l** | | | |
| R2 | 0.8494 | 0.9825 | 0.9944 |
| K | 0.0002 | 0.0003 | 0.0019 |
| βBR | 0.0006 | 0.0006 | 0.0038 |
| 1/2(sec) | 49 | 43.3 | 0.4 |
| No | 204.1 | 153.8 | 238.1 |
| -r | 0.0002C2 | 0.0003C2 | 0.00019C2 |
| **800mg/l** | | | |
| R2 | 0.8939 | 0.9041 | 0.9682 |
| K | 0.0004 | 0.0005 | 0.0017 |
| βBR | 0.0008 | 0.0010 | 0.0034 |
| 1/2(sec) | 17.5 | 16.4 | 5.06 |
| No | 285.7 | 243.9 | 232.6 |
| -r | 0.0004C2 | 0.0005C2 | 0.00017C2 |

**Conclusion**

Kinetic data fitted well to second order model due to higher correlation coefficient recorded when compared to first order. The discrepancies recorded in the order of the reaction can be explained by the unattainable assumption that mixing of particles and coagulants throughout the dispersion is 100% efficient before aggregation occurs. It can be concluded that the theory of perikinetics is the controlling mechanism of the coagulation owing to the high correlation coefficients (>0.9) recorded at different pH.

**References**

1. Al-Sameraiy Mukheled (2017). A new approach using coagulation rate constant for evaluation of turbidity removal. Appl water Sci. 7: 1439- 1448.
2. Babayemi KA, Onukwuli OD, Okewale AO. (2013). Coag-Flocculation of Phosphorus Containing Waste Water Using Afzella-Africana BiomassInternational Journal of Applied Science and Technology 3, *6:43-51.*
3. Brandy G, Mandelcorn L, Winkler CA (1952). A contribution from the physical CChemistry Laboratory. McGill University, Montreal, Que., Canadian Journal of Chemistry vol 31.
4. Ejikeme EM, Ejikeme PCN, Onyia SO. (2018). Study on the Coagulation of bakery wastewater using Bambara nut husk (Vigna Subterranea) husk. Journal of Experimental Research vol 6, No 4.
5. Fridkhsberg DA. (1984). A course in Colloid Chemistry; Mir Publishers Moscow, Russia. 266-268.
6. Gregory J (2006). Particles in water, Properties and processes. IWA pub., CRC press Taylor and Francis, Boca Raton, London.
7. Holthof H, Egelhaaf SU, Borkovec M, Schurtenberger P, Sticher H. (1996). Coagulation Rate Measurement of Colloidal Particles by Simultaneous Static and Dynamic Light Scattering. Langmuir12: 5541.
8. Menkiti MC, Nnaji PC, Nwoye CI, Onukwuli OD. (2010). Coag-Flocculation Kinetics and Functional Parameters Response of Mucuna Seed Coagulant to pH Variation in Organic Rich Coal Effluent MediumJournal of Minerals & Materials Characterization & Engineering, 9,2:89-103.
9. Menkiti MC. (2010). Sequential treatment of coal washery effluents by biocoag-flocculation and activated carbon adsorption. Ph.D thesis. Nnamdi Azikiwe University, Nigeria.
10. Ozacar M, Sengil IA. (2000). Effectiveness of tannis obtained from velonia as a coagulant aid for dewatering of sludge. Water Res. 34, 4:1407 – 1412.
11. Ramphal SR, Sibiya MS. (2014). Optimization of Coagulation- Flocculation parameters using a photometric dispersion analyser. Drinking water Eng. Sci. 7, 73-82.
12. Selomulya C, Amal R, Bushell G, Waiter TD (2001). Evidence of sheer rate dependence on restructuring and breakup of latex aggregate. J. Colloid Interf. Sci. 236, 67-77.
13. Smoluchowski M. (1917). Verscuheiner Mathematischen Theories der koagulations kinetic kolloides lousungen. Phs. Chem. 92: 129-168.
14. Spicer PT, Pratsinis S E, Trennepohl MD (1996). Coagulation and fragmentation. The variation of shear rate and the time lag for attainment of steady state, Ind. Eng. Chem. Res., 35, 3074-3080.
15. Swift DL, Friedlander SK. (1964). The coagulation of hydrolysis by Brownian motion and laminar shear flow. Journal of Colloid Science, 19: 621.
16. Water Specialist Technology (WST). (2005). About Coagulation and Flocculation: Information Bulletins, U.S.A:1-10.
17. Yates P, Yan Y, Jamson GJ, Biggs S. (2001). Heteroaggregation of particle system: Aggregation Mechanisms and aggregate structure determination.”6th World Congress of Chemical Engineering, Melbourne. 23-27: 1-10.

7/25/2020